BIDDING DOCUMENTS

Issued on: 4th October, 2011

For

Procurement of

Vocational and Operational center for Photovoltaic Applications in Tubas City

ICB No: PEA-TU 01/2011

Purchaser: Palestinian Energy Authority

Table of Contents

PART 1 – Bidding Procedures	1

Section I.  Instructions to Bidders	3

Section II.  Bidding Data Sheet (BDS)	27

Section III.  Evaluation and Qualification Criteria	33

Section IV.  Bidding Forms	37

Section V.  Eligible Countries	53

PART 2 – Supply Requirements	55

Section VI.  Schedule of Requirements	57

PART 3 - Contract	72

Section VII.  General Conditions of Contract	73

Section VIII.  Special Conditions of Contract	93

Section IX.  Contract Forms	103

Invitation for Bids (IFB)	109

# PART 1 – Bidding Procedures

Section I. Instructions to Bidders

Table of Clauses

A.	General	5

1.	Scope of Bid	5

2.	Source of Funds	5

3.	Fraud and Corruption	5

4.	Eligible Bidders	7

5.	Eligible Goods and Related Services	8

B.	Contents of Bidding Documents	8

6.	Sections of Bidding Documents	8

7.	Clarification of Bidding Documents	9

8.	Amendment of Bidding Documents	9

C.	Preparation of Bids	10

9.	Cost of Bidding	10

10.	Language of Bid	10

11.	Documents Comprising the Bid	10

12.	Bid Submission Form and Price Schedules	11

13.	Alternative Bids	11

14.	Bid Prices and Discounts	11

15.	Currencies of Bid	13

16.	Documents Establishing the Eligibility of the Bidder	13

17.	Documents Establishing the Eligibility of the Goods and Related Services	14

18.	Documents Establishing the Conformity of the Goods and Related Services	14

19.	Documents Establishing the Qualifications of the Bidder	14

20.	Period of Validity of Bids	15

21.	Bid Security and Bid-Securing Declaration	15

22.	Format and Signing of Bid	17

D.	Submission and Opening of Bids	17

23.	Submission, Sealing and Marking of Bids	17

24.	Deadline for Submission of Bids	18

25.	Late Bids	18

26.	Withdrawal,  Substitution, and Modification of Bids	18

27.	Bid Opening	19

E.	Evaluation and Comparison of Bids	20

28.	Confidentiality	20

29.	Clarification of Bids	20

30.	Responsiveness of Bids	20

31.	Non-conformities, Errors, and Omissions	21

32.	Preliminary Examination of Bids	21

33.	Examination of Terms and Conditions; Technical Evaluation	22

34.	Conversion to Single Currency	22

35.	Domestic Preference	22

36.	Evaluation of Bids	22

37.	Comparison of Bids	24

38.	Postqualification of the Bidder	24

39.	Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids	24

F.	Award of Contract	24

40.	Award Criteria	24

41.	Purchaser’s Right to Vary Quantities at Time of Award	24

42.	Notification of Award	24

43.	Signing of Contract	25

44.	Performance Security	25

| Section I. Instructions to Bidders |  |
| --- | --- |
|  | General |
| Scope of Bid | - The Purchaser indicated in the Bidding Data Sheet (BDS), issues these Bidding Documents for the supply, installation of Goods and Related Services incidental thereto as specified in Section VI, Schedule of Requirements. The name and identification number of this International Competitive Bidding (ICB) procurement are specified in the BDS. The name, identification, and number of lots of are provided in the BDS. - Throughout these Bidding Documents: ### the term “in writing” means communicated in written form (e.g. by mail, e-mail, fax, telex) with proof of receipt; ### if the context so requires, “singular” means “plural” and vice versa; and ### “day” means calendar day. |
| Source of Funds | - The Borrower or Recipient (hereinafter called “Borrower”) specified in the BDS has applied for or received financing (hereinafter called “funds”) from the Czech Republic Government (hereinafter called “the Bank”) toward the cost of the project named in the BDS. The Borrower intends to apply a portion of the funds to eligible payments under the contract for which these Bidding Documents are issued. - Payments by the Bank will be made only at the request of the Borrower and upon approval by the Bank in accordance with the terms and conditions of the financing agreement between the Borrower and the Bank (hereinafter called the Grant Agreement), and will be subject in all respects to the terms and conditions of that Grant Agreement. The Grant Agreement prohibits a withdrawal from the grant account for the purpose of any payment to persons or entities, or for any import of goods, if such payment or import, to the knowledge of the Bank, is prohibited by decision of the United Nations Security Council taken under Chapter VII of the Charter of the United Nations. No party other than the Borrower shall derive any rights from the Grant Agreement or have any claim to the funds. |
| Fraud and Corruption | 3.1 It is the Bank’s policy to require that Borrowers (including beneficiaries of Bank grants), as well as bidders, suppliers, and contractors and consultants under Bank – financed Contracts, observe the highest standard of ethics during the procurement and execution of such contracts. In pursuance of this policy, the Bank: (a) defines, for the purposes of this provision, the terms set forth below as follows: (i) “corrupt practice” is the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party; (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (b) will reject a proposal for award if it determines that the bidder recommended for award has, directly or through an agent, engaged in corrupt, fraudulent, collusive, coercive or obstructive practices in competing for the contract in question; (c) will cancel the portion of the grant allocated to a contract if it determines at any time that representatives of the Borrower or of a beneficiary of the grant engaged in corrupt, fraudulent, collusive, or coercive practices during the procurement or the execution of that contract, without the Borrower having taken timely and appropriate action satisfactory to the Bank remedy situation ; (d) will sanction a firm or an individual, at any time, in accordance with prevailing Bank’s sanctions procedures, including by publicly declaring such firm or individual ineligible, either indefinitely or for a stated period of time:(i) to be awarded a Bank-financed contract; and (ii) to be a nominated subcontractor, consultant, manufacturer or supplier, or service provider of an otherwise eligible firm being awarded a Bank-financed contract. ### 3.2 In further pursuance of this policy, Bidders shall permit the Bank to inspect any accounts and records and other documents relating to the Bid submission and contract performance, and to have them audited by auditors appointed by the Bank. 3.3 Furthermore, Bidders shall be aware of the provision stated in Sub-Clause 35.1 (a) (iii) of the General Conditions of Contract. |
| Eligible Bidders | - A Bidder, and all parties constituting the Bidder, may have the nationality of any country, subject to the restrictions specified in Section V, Eligible Countries. A Bidder shall be deemed to have the nationality of a country if the Bidder is a citizen or is constituted, incorporated, or registered and operates in conformity with the provisions of the laws of that country. This criterion shall also apply to the determination of the nationality of proposed subcontractors or suppliers for any part of the Contract including Related Services. - A Bidder shall not have a conflict of interest. All bidders found to have conflict of interest shall be disqualified. Bidders may be considered to have a conflict of interest with one or more parties in this bidding process, if they: ### are or have been associated in the past, with a firm or any of its affiliates which have been engaged by the Purchaser to provide consulting services for the preparation of the design, specifications, and other documents to be used for the procurement of the goods to be purchased under these Bidding Documents ; or ### (b) submit more than one bid in this bidding process, except for alternative offers permitted under ITB Clause 13. However, this does not limit the participation of subcontractors in more than one bid; 4.3 A Bidder that is under a declaration of ineligibility by the Bank in accordance with ITB Clause 3, at the date of contract award, shall be disqualified. The list of debarred firms is available at the electronic address specified in the BDS. 4.4 A firm that has been determined to be ineligible by the Bank in relation to the Bank Guidelines On Preventing and Combating Fraud and Corruption in Projects Financed by IBRD Loans and IDA Credits and Grants shall be not be eligible to be awarded a contract. 4.5 Government-owned enterprises in the Borrower’s Country shall be eligible only if they can establish that they (i) are legally and financially autonomous, (ii) operate under commercial law, and (iii) are not a dependent agency of the Purchaser. 4.6 Bidders shall provide such evidence of their continued eligibility satisfactory to the Purchaser, as the Purchaser shall reasonably request. |
| Eligible Goods and Related Services | - All the Goods and Related Services to be supplied under the Contract and financed by the Bank may have their origin in any country in accordance with Section V, Eligible Countries. - For purposes of this Clause, the term “goods” includes commodities, raw material, machinery, equipment, and industrial plants; and “related services” includes services such as insurance, installation, training, and initial maintenance. - The term “origin” means the country where the goods have been mined, grown, cultivated, produced, manufactured or processed; or, through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
|  | Contents of Bidding Documents |
| Sections of Bidding Documents | - The Bidding Documents consist of Parts 1, 2, and 3, which include all the Sections indicated below, and should be read in conjunction with any Addendum issued in accordance with ITB Clause 8. PART 1 Bidding Procedures - Section I. Instructions to Bidders (ITB) - Section II. Bidding Data Sheet (BDS) - Section III. Evaluation and Qualification Criteria - Section IV. Bidding Forms - Section V. Eligible Countries |
|  | PART 2 Supply Requirements - Section VI. Schedule of Requirements PART 3 Contract - Section VII. General Conditions of Contract (GCC) - Section VIII. Special Conditions of Contract (SCC) - Section IX. Contract Forms |
|  | - The Invitation for Bids issued by the Purchaser is not part of the Bidding Documents. - The Purchaser is not responsible for the completeness of the Bidding Documents and their addendum, if they were not obtained directly from the Purchaser. - The Bidder is expected to examine all instructions, forms, terms, and specifications in the Bidding Documents. Failure to furnish all information or documentation required by the Bidding Documents may result in the rejection of the bid. |
| Clarification of Bidding Documents | - A prospective Bidder requiring any clarification of the Bidding Documents shall contact the Purchaser in writing at the Purchaser’s address specified in the BDS. The Purchaser will respond in writing to any request for clarification, provided that such request is received no later than twenty-one (21) days prior to the deadline for submission of bids. The Purchaser shall forward copies of its response to all those who have acquired the Bidding Documents directly from it, including a description of the inquiry but without identifying its source. Should the Purchaser deem it necessary to amend the Bidding Documents as a result of a clarification, it shall do so following the procedure under ITB Clause 8 and ITB Sub-Clause 24.2.. |
| Amendment of Bidding Documents | - At any time prior to the deadline for submission of bids, the Purchaser may amend the Bidding Documents by issuing addendum. - Any addendum issued shall be part of the Bidding Documents and shall be communicated in writing to all who have obtained the Bidding Documents directly from the Purchaser. - To give prospective Bidders reasonable time in which to take an addendum into account in preparing their bids, the Purchaser may, at its discretion, extend the deadline for the submission of bids, pursuant to ITB Sub-Clause 24.2 |
|  | Preparation of Bids |
| Cost of Bidding | - The Bidder shall bear all costs associated with the preparation and submission of its bid, and the Purchaser shall not be responsible or liable for those costs, regardless of the conduct or outcome of the bidding process. |
| Language of Bid | - The Bid, as well as all correspondence and documents relating to the bid exchanged by the Bidder and the Purchaser, shall be written in the language specified in the BDS. Supporting documents and printed literature that are part of the Bid may be in another language provided they are accompanied by an accurate translation of the relevant passages into the language specified in the BDS, in which case, for purposes of interpretation of the Bid, such translation shall govern. |
| Documents Comprising the Bid | - The Bid shall comprise the following: ### Bid Submission Form and the applicable Price Schedules, in accordance with ITB Clauses 12, 14, and 15; ### Bid Security or Bid-Securing Declaration, in accordance with ITB Clause 21, if required; ### written confirmation authorizing the signatory of the Bid to commit the Bidder, in accordance with ITB Clause 22; ### documentary evidence in accordance with ITB Clause 16 establishing the Bidder’s eligibility to bid; ### documentary evidence in accordance with ITB Clause 17, that the Goods and Related Services to be supplied by the Bidder are of eligible origin; ### documentary evidence in accordance with ITB Clauses 18 and 30, that the Goods and Related Services conform to the Bidding Documents; ### documentary evidence in accordance with ITB Clause 19 establishing the Bidder’s qualifications to perform the contract if its bid is accepted; and ### any other document required in the BDS. |
| Bid Submission Form and Price Schedules | - The Bidder shall submit the Bid Submission Form using the form furnished in Section IV, Bidding Forms. This form must be completed without any alterations to its format, and no substitutes shall be accepted. All blank spaces shall be filled in with the information requested. - The Bidder shall submit the Price Schedules for Goods and Related Services, according to their origin as appropriate, using the forms furnished in Section IV, Bidding Forms |
| Alternative Bids | - Unless otherwise specified in the BDS, alternative bids shall not be considered. |
| Bid Prices and Discounts | - The prices and discounts quoted by the Bidder in the Bid Submission Form and in the Price Schedules shall conform to the requirements specified below. - All lots and items must be listed and priced separately in the Price Schedules. - The price to be quoted in the Bid Submission Form shall be the total price of the bid, excluding any discounts offered. - The Bidder shall quote any unconditional discounts and indicate the method for their application in the Bid Submission Form. - The terms EXW, CIP, and other similar terms shall be governed by the rules prescribed in the current edition of Incoterms, published by The International Chamber of Commerce, as specified in the BDS. - Prices shall be quoted as specified in each Price Schedule included in Section IV, Bidding Forms. The dis-aggregation of price components is required solely for the purpose of facilitating the comparison of bids by the Purchaser. This shall not in any way limit the Purchaser’s right to contract on any of the terms offered. In quoting prices, the Bidder shall be free to use transportation through carriers registered in any eligible country, in accordance with Section V Eligible Countries. Similarly, the Bidder may obtain insurance services from any eligible country in accordance with Section V Eligible Countries. Prices shall be entered in the following manner: ### For Goods manufactured in the Purchaser’s Country: (i) the price of the Goods quoted EXW (ex works, ex factory, ex warehouse, ex showroom, or off-the-shelf, as applicable), including all customs duties and sales and other taxes already paid or payable on the components and raw material used in the manufacture or assembly of the Goods; (ii) any Purchaser’s Country sales tax and other taxes which will be payable on the Goods if the contract is awarded to the Bidder; and (iii) the price for inland transportation, insurance, and other local services required to convey the Goods to their final destination (Tubas - Palestine) specified in the BDS. - For Goods manufactured outside the Purchaser’s Country, to be imported: - the price of the Goods, quoted CIP named place of destination, in the Purchaser’s Country, or CIF named port of destination, as specified in the BDS; - the price for inland transportation, insurance, and other local services required to convey the Goods from the named place of destination to their final destination (Tubas - Palestine) specified in the BDS; - in addition to the CIP prices specified in (b)(i) above, the price of the Goods to be imported may be quoted FCA (Tubas - Palestine) or CPT (Tubas - Palestine), if so specified in the BDS; - For Goods manufactured outside the Purchaser’s Country, already imported: - the price of the Goods, including the original import value of the Goods; plus any mark-up (or rebate); plus any other related local cost, and custom duties and other import taxes already paid or to be paid on the Goods already imported. - the custom duties and other import taxes already paid (need to be supported with documentary evidence) or to be paid on the Goods already imported; - the price of the Goods, obtained as the difference between (i) and (ii) above; - any Purchaser’s Country sales and other taxes which will be payable on the Goods if the contract is awarded to the Bidder; and - the price for inland transportation, insurance, and other local services required to convey the Goods from the named place of destination to their final destination (Tubas - palestine) specified in the BDS. - for Related Services, other than inland transportation and other services required to convey the Goods to their final destination, whenever such Related Services are specified in the Schedule of Requirements: - the price of each item comprising the Related Services (inclusive of any applicable taxes). - Prices quoted by the Bidder shall be fixed during the Bidder’s performance of the Contract and not subject to variation on any account, unless otherwise specified in the BDS. A Bid submitted with an adjustable price quotation shall be treated as non responsive and shall be rejected, pursuant to ITB Clause 30. However, if in accordance with the BDS, prices quoted by the Bidder shall be subject to adjustment during the performance of the Contract, a bid submitted with a fixed price quotation shall not be rejected, but the price adjustment shall be treated as zero. - If so indicated in ITB Sub-Clause 1.1, bids are being invited for individual contracts (lots) or for any combination of contracts (packages). Unless otherwise indicated in the BDS, prices quoted shall correspond to 100 % of the items specified for each lot and to 100% of the quantities specified for each item of a lot. Bidders wishing to offer any price reduction (discount) for the award of more than one Contract shall specify the applicable price reduction in accordance with ITB Sub-Clause 14.4 provided the bids for all lots are submitted and opened at the same time. |
| Currencies of Bid | - The Bidder shall quote in the currency of the Purchaser’s Country the portion of the bid price that corresponds to expenditures incurred in the currency of the Purchaser’s country, unless otherwise specified in the BDS. - The Bidder should express the bid price in U.S. Dollars Only |
| Documents Establishing the Eligibility of the Bidder | - To establish their eligibility in accordance with ITB Clause 4, Bidders shall complete the Bid Submission Form, included in Section IV, Bidding Forms. |
| Documents Establishing the Eligibility of the Goods and Related Services | - To establish the eligibility of the Goods and Related Services in accordance with ITB Clause 5, Bidders shall complete the country of origin declarations in the Price Schedule Forms, included in Section IV, Bidding Forms. |
| Documents Establishing the Conformity of the Goods and Related Services | - To establish the conformity of the Goods and Related Services to the Bidding Documents, the Bidder shall furnish as part of its Bid the documentary evidence that the Goods conform to the technical specifications and standards specified in Section VI, Schedule of Requirements. - The documentary evidence may be in the form of literature, drawings or data, and shall consist of a detailed item by item description of the essential technical and performance characteristics of the Goods and Related Services, demonstrating substantial responsiveness of the Goods and Related Services to the technical specification, and if applicable, a statement of deviations and exceptions to the provisions of the Schedule of Requirements. - The Bidder shall also furnish a list giving full particulars, including available sources and current prices of spare parts, special tools, etc., necessary for the proper and continuing functioning of the Goods during the period specified in the BDS following commencement of the use of the goods by the Purchaser. - Standards for workmanship, process, material, and equipment, as well as references to brand names or catalogue numbers specified by the Purchaser in the Schedule of Requirements, are intended to be descriptive only and not restrictive. The Bidder may offer other standards of quality, brand names, and/or catalogue numbers, provided that it demonstrates, to the Purchaser’s satisfaction, that the substitutions ensure substantial equivalence or are superior to those specified in the Schedule of Requirements. |
| Documents Establishing the Qualifications of the Bidder | - The documentary evidence of the Bidder’s qualifications to perform the contract if its bid is accepted shall establish to the Purchaser’s satisfaction: (a) that, if required in the BDS, a Bidder that does not manufacture or produce the Goods it offers to supply shall submit the Manufacturer’s Authorization using the form included in Section IV, Bidding Forms to demonstrate that it has been duly authorized by the manufacturer or producer of the Goods to supply these Goods in the Purchaser’s Country; - that, if required in the BDS, in case of a Bidder not doing business within the Purchaser’s Country, the Bidder is or will be (if awarded the contract) represented by an Agent in the country equipped and able to carry out the Supplier’s maintenance, repair and spare parts-stocking obligations prescribed in the Conditions of Contract and/or Technical Specifications; and - that the Bidder meets each of the qualification criterion specified in Section III, Evaluation and Qualification Criteria. |
| Period of Validity of Bids | - Bids shall remain valid for the period specified in the BDS after the bid submission deadline date prescribed by the Purchaser. A bid valid for a shorter period shall be rejected by the Purchaser as non responsive. - In exceptional circumstances, prior to the expiration of the bid validity period, the Purchaser may request bidders to extend the period of validity of their bids. The request and the responses shall be made in writing. If a Bid Security is requested in accordance with ITB Clause 21, it shall also be extended for a corresponding period. A Bidder may refuse the request without forfeiting its Bid Security. A Bidder granting the request shall not be required or permitted to modify its bid, except as provided in ITB Sub-Clause 20.3. - In the case of fixed price contracts, if the award is delayed by a period exceeding fifty-six (56) days beyond the expiry of the initial bid validity, the Contract price shall be adjusted as specified in the request for extension. Bid evaluation shall be based on the Bid Price without taking into consideration the above correction. |
| Bid Security | - The Bidder shall furnish as part of its bid, a Bid Security or a Bid-Securing Declaration, if required, as specified in the BDS. - The Bid Security shall be in the amount specified in the BDS and denominated in the currency of the Purchaser’s Country or a freely convertible currency, and shall: ### at the bidder’s option, be in the form of either a letter of credit, or a bank guarantee from a banking institution, or a bond issued by a surety; ### be issued by a reputable institution selected by the bidder and located in any eligible country. If the institution issuing the bond is located outside the Purchaser’s Country, it shall have a correspondent financial institution located in the Purchaser’s Country to make it enforceable. ### be substantially in accordance with one of the forms of Bid Security included in Section IV, Bidding Forms, or other form approved by the Purchaser prior to bid submission; ### be payable promptly upon written demand by the Purchaser in case the conditions listed in ITB Clause 21.5 are invoked; ### be submitted in its original form; copies will not be accepted; ### remain valid for a period of 28 days beyond the validity period of the bids, as extended, if applicable, in accordance with ITB Clause 20.2; - If a Bid Security or a Bid- Securing Declaration is required in accordance with ITB Sub-Clause 21.1, any bid not accompanied by a substantially responsive Bid Security or Bid Securing Declaration in accordance with ITB Sub-Clause 21.1, shall be rejected by the Purchaser as non-responsive. - The Bid Security of unsuccessful Bidders shall be returned as promptly as possible upon the successful Bidder’s furnishing of the Performance Security pursuant to ITB Clause 44. - The Bid Security may be forfeited or the Bid Securing Declaration executed: ### if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Bid Submission Form, except as provided in ITB Sub-Clause 20.2; or ### if the successful Bidder fails to: #### sign the Contract in accordance with ITB Clause 43; #### furnish a Performance Security in accordance with ITB Clause 44. - The Bid Security or Bid- Securing Declaration of a JV must be in the name of the JV that submits the bid. If the JV has not been legally constituted at the time of bidding, the Bid Security or Bid-Securing Declaration shall be in the names of all future partners as named in the letter of intent mentioned in Section IV “Bidding Forms,” Bidder Information Form Item 7. 21.7 If a bid security is not required in the BDS, and - if a Bidder withdraws its bid during the period of bid validity specified by the Bidder on the Letter of Bid Form, except as provided in ITB 20.2, or - if the successful Bidder fails to: sign the Contract in accordance with ITB 43; or furnish a performance security in accordance with ITB 44; the Borrower may, if provided for in the BDS, declare the Bidder disqualified to be awarded a contract by the Purchaser for a period of time as stated in the BDS. |
| Format and Signing of Bid | - The Bidder shall prepare one original of the documents comprising the bid as described in ITB Clause 11 and clearly mark it “Original.” In addition, the Bidder shall submit copies of the bid, in the number specified in the BDS and clearly mark them “Copy.” In the event of any discrepancy between the original and the copies, the original shall prevail. - The original and all copies of the bid shall be typed or written in indelible ink and shall be signed by a person duly authorized to sign on behalf of the Bidder. - Any interlineation, erasures, or overwriting shall be valid only if they are signed or initialed by the person signing the Bid. |
|  | Submission and Opening of Bids |
| Submission, Sealing and Marking of Bids | - Bidders may always submit their bids by mail or by hand. When so specified in the BDS, bidders shall have the option of submitting their bids electronically. ### Bidders submitting bids by mail or by hand, shall enclose the original and each copy of the Bid, including alternative bids, if permitted in accordance with ITB Clause 13, in separate sealed envelopes, duly marking the envelopes as “Original” and “Copy.” These envelopes containing the original and the copies shall then be enclosed in one single envelope. The rest of the procedure shall be in accordance with ITB sub-Clauses 23.2 and 23.3. ### Bidders submitting bids electronically shall follow the electronic bid submission procedures specified in the BDS. - The inner and outer envelopes shall: ### Bear the name and address of the Bidder; ### be addressed to the Purchaser in accordance with ITB Sub-Clause 24.1; ### bear the specific identification of this bidding process indicated in ITB 1.1 and any additional identification marks as specified in the BDS; and ### bear a warning not to open before the time and date for bid opening, in accordance with ITB Sub-Clause 27.1. 23.3 If all envelopes are not sealed and marked as required, the Purchaser will assume no responsibility for the misplacement or premature opening of the bid. |
| Deadline for Submission of Bids | - Bids must be received by the Purchaser at the address and no later than the date and time specified in the BDS. - The Purchaser may, at its discretion, extend the deadline for the submission of bids by amending the Bidding Documents in accordance with ITB Clause 8, in which case all rights and obligations of the Purchaser and Bidders previously subject to the deadline shall thereafter be subject to the deadline as extended. |
| Late Bids | - The Purchaser shall not consider any bid that arrives after the deadline for submission of bids, in accordance with ITB Clause 24. Any bid received by the Purchaser after the deadline for submission of bids shall be declared late, rejected, and returned unopened to the Bidder. |
| Withdrawal, Substitution, and Modification of Bids | - A Bidder may withdraw, substitute, or modify its Bid after it has been submitted by sending a written notice in accordance with ITB Clause 23, duly signed by an authorized representative, and shall include a copy of the authorization (the power of attorney) in accordance with ITB Sub-Clause 22.2, (except that no copies of the withdrawal notice are required). The corresponding substitution or modification of the bid must accompany the respective written notice. All notices must be: - submitted in accordance with ITB Clauses 22 and 23 (except that withdrawal notices do not require copies), and in addition, the respective envelopes shall be clearly marked “Withdrawal,” “Substitution,” or “Modification;” and - received by the Purchaser prior to the deadline prescribed for submission of bids, in accordance with ITB Clause 24. - Bids requested to be withdrawn in accordance with ITB Sub-Clause 26.1 shall be returned unopened to the Bidders. - No bid may be withdrawn, substituted, or modified in the interval between the deadline for submission of bids and the expiration of the period of bid validity specified by the Bidder on the Bid Submission Form or any extension thereof. |
| Bid Opening | - The Purchaser shall conduct the bid opening in public at the address, date and time specified in the BDS. Any specific electronic bid opening procedures required if electronic bidding is permitted in accordance with ITB Sub-Clause 23.1, shall be as specified in the BDS. - First, envelopes marked “Withdrawal” shall be opened and read out and the envelope with the corresponding bid shall not be opened, but returned to the Bidder. If the withdrawal envelope does not contain a copy of the “power of attorney” confirming the signature as a person duly authorized to sign on behalf of the Bidder, the corresponding bid will be opened. No bid withdrawal shall be permitted unless the corresponding withdrawal notice contains a valid authorization to request the withdrawal and is read out at bid opening. Next, envelopes marked “Substitution” shall be opened and read out and exchanged with the corresponding Bid being substituted, and the substituted Bid shall not be opened, but returned to the Bidder. No Bid substitution shall be permitted unless the corresponding substitution notice contains a valid authorization to request the substitution and is read out at bid opening. Envelopes marked “Modification” shall be opened and read out with the corresponding Bid. No Bid modification shall be permitted unless the corresponding modification notice contains a valid authorization to request the modification and is read out at Bid opening. Only envelopes that are opened and read out at Bid opening shall be considered further. - All other envelopes shall be opened one at a time, reading out: the name of the Bidder and whether there is a modification; the Bid Prices, including any discounts and alternative offers; the presence of a Bid Security or Bid-Securing Declaration, if required; and any other details as the Purchaser may consider appropriate. Only discounts and alternative offers read out at Bid opening shall be considered for evaluation. No Bid shall be rejected at Bid opening except for late bids, in accordance with ITB Sub-Clause 25.1. - The Purchaser shall prepare a record of the Bid opening that shall include, as a minimum: the name of the Bidder and whether there is a withdrawal, substitution, or modification; the Bid Price, per lot if applicable, including any discounts, and alternative offers if they were permitted; and the presence or absence of a Bid Security or Bid-Securing Declaration, if one was required. The Bidders’ representatives who are present shall be requested to sign the attendance sheet. A copy of the record shall be distributed to all Bidders who submitted bids in time, and posted online when electronic bidding is permitted. |
|  | Evaluation and Comparison of Bids |
| Confidentiality | - Information relating to the examination, evaluation, comparison, and post qualification of bids, and recommendation of contract award, shall not be disclosed to bidders or any other persons not officially concerned with such process until publication of the Contract Award. - Any effort by a Bidder to influence the Purchaser in the examination, evaluation, comparison, and postqualification of the bids or contract award decisions may result in the rejection of its Bid. - Notwithstanding ITB Sub-Clause 28.2, from the time of bid opening to the time of Contract Award, if any Bidder wishes to contact the Purchaser on any matter related to the bidding process, it should do so in writing. |
| Clarification of Bids | - To assist in the examination, evaluation, comparison and post-qualification of the bids, the Purchaser may, at its discretion, ask any Bidder for a clarification of its Bid. Any clarification submitted by a Bidder in respect to its Bid and that is not in response to a request by the Purchaser shall not be considered. The Purchaser’s request for clarification and the response shall be in writing. No change in the prices or substance of the Bid shall be sought, offered, or permitted, except to confirm the correction of arithmetic errors discovered by the Purchaser in the Evaluation of the bids, in accordance with ITB Clause 31. |
| Responsiveness of Bids | - The Purchaser’s determination of a bid’s responsiveness is to be based on the contents of the bid itself. - A substantially responsive Bid is one that conforms to all the terms, conditions, and specifications of the Bidding Documents without material deviation, reservation, or omission. A material deviation, reservation, or omission is one that: ### affects in any substantial way the scope, quality, or performance of the Goods and Related Services specified in the Contract; or ### limits in any substantial way, inconsistent with the Bidding Documents, the Purchaser’s rights or the Bidder’s obligations under the Contract; or ### if rectified would unfairly affect the competitive position of other bidders presenting substantially responsive bids. - If a bid is not substantially responsive to the Bidding Documents, it shall be rejected by the Purchaser and may not subsequently be made responsive by the Bidder by correction of the material deviation, reservation, or omission. |
| Nonconformities, Errors, and Omissions | - Provided that a Bid is substantially responsive, the Purchaser may waive any non-conformities or omissions in the Bid that do not constitute a material deviation. - Provided that a bid is substantially responsive, the Purchaser may request that the Bidder submit the necessary information or documentation, within a reasonable period of time, to rectify nonmaterial nonconformities or omissions in the bid related to documentation requirements. Such omission shall not be related to any aspect of the price of the Bid. Failure of the Bidder to comply with the request may result in the rejection of its Bid. - Provided that the Bid is substantially responsive, the Purchaser shall correct arithmetical errors on the following basis: ### if there is a discrepancy between the unit price and the line item total that is obtained by multiplying the unit price by the quantity, the unit price shall prevail and the line item total shall be corrected, unless in the opinion of the Purchaser there is an obvious misplacement of the decimal point in the unit price, in which case the line item total as quoted shall govern and the unit price shall be corrected; ### if there is an error in a total corresponding to the addition or subtraction of subtotals, the subtotals shall prevail and the total shall be corrected; and ### if there is a discrepancy between words and figures, the amount in words shall prevail, unless the amount expressed in words is related to an arithmetic error, in which case the amount in figures shall prevail subject to (a) and (b) above. - If the Bidder that submitted the lowest evaluated Bid does not accept the correction of errors, its Bid shall be rejected. |
| Preliminary Examination of Bids | - The Purchaser shall examine the bids to confirm that all documents and technical documentation requested in ITB Clause 11 have been provided, and to determine the completeness of each document submitted. - The Purchaser shall confirm that the following documents and information have been provided in the Bid. If any of these documents or information is missing, the offer shall be rejected. ### Bid Submission Form, in accordance with ITB Sub-Clause 12.1; ### Price Schedules, in accordance with ITB Sub-Clause 12.2; ### Bid Security or Bid Securing Declaration, in accordance with ITB Clause 21, if applicable. |
| Examination of Terms and Conditions; Technical Evaluation | - The Purchaser shall examine the Bid to confirm that all terms and conditions specified in the GCC and the SCC have been accepted by the Bidder without any material deviation or reservation. - The Purchaser shall evaluate the technical aspects of the Bid submitted in accordance with ITB Clause 18, to confirm that all requirements specified in Section VI, Schedule of Requirements of the Bidding Documents have been met without any material deviation or reservation. - If, after the examination of the terms and conditions and the technical evaluation, the Purchaser determines that the Bid is not substantially responsive in accordance with ITB Clause 30, it shall reject the Bid. |
| Conversion to Single Currency | - For evaluation and comparison purposes, the Purchaser shall convert all bid prices expressed in amounts in various currencies into an amount in a single currency specified in the BDS, using the selling exchange rates established by the source and on the date specified in the BDS. |
| Domestic Preference | - Domestic preference shall not be a factor in bid evaluation, unless otherwise specified in the BDS. |
| Evaluation of Bids | - The Purchaser shall evaluate each bid that has been determined, up to this stage of the evaluation, to be substantially responsive. - To evaluate a Bid, the Purchaser shall only use all the factors, methodologies and criteria defined in ITB Clause 36. No other criteria or methodology shall be permitted. - To evaluate a Bid, the Purchaser shall consider the following: ### evaluation will be done for Items or Lots, as specified in the BDS; and the Bid Price as quoted in accordance with clause 14; ### price adjustment for correction of arithmetic errors in accordance with ITB Sub-Clause 31.3; ### price adjustment due to discounts offered in accordance with ITB Sub-Clause 14.4; ### adjustments due to the application of the evaluation criteria specified in the BDS from amongst those set out in Section III, Evaluation and Qualification Criteria; ### adjustments due to the application of a margin of preference, in accordance with ITB Clause 35 if applicable. - The Purchaser’s evaluation of a bid will exclude and not take into account: ### In the case of Goods manufactured in the Purchaser’s Country, sales and other similar taxes, which will be payable on the goods if a contract is awarded to the Bidder; ### in the case of Goods manufactured outside the Purchaser’s Country, already imported or to be imported, customs duties and other import taxes levied on the imported Good, sales and other similar taxes, which will be payable on the Goods if the contract is awarded to the Bidder; ### any allowance for price adjustment during the period of execution of the contract, if provided in the bid. - The Purchaser’s evaluation of a bid may require the consideration of other factors, in addition to the Bid Price quoted in accordance with ITB Clause 14. These factors may be related to the characteristics, performance, and terms and conditions of purchase of the Goods and Related Services. The effect of the factors selected, if any, shall be expressed in monetary terms to facilitate comparison of bids, unless otherwise specified in Section III, Evaluation and Qualification Criteria. The factors, methodologies and criteria to be used shall be as specified in ITB 36.3 (d). - If so specified in the BDS, these Bidding Documents shall allow Bidders to quote separate prices for one or more lots, and shall allow the Purchaser to award one or multiple lots to more than one Bidder. The methodology of evaluation to determine the lowest-evaluated lot combinations, is specified in Section III, Evaluation and Qualification Criteria. |
| Comparison of Bids | - The Purchaser shall compare all substantially responsive bids to determine the lowest-evaluated bid, in accordance with ITB Clause 36. |
| Post qualification of the Bidder | - The Purchaser shall determine to its satisfaction whether the Bidder that is selected as having submitted the lowest evaluated and substantially responsive bid is qualified to perform the Contract satisfactorily. - The determination shall be based upon an examination of the documentary evidence of the Bidder’s qualifications submitted by the Bidder, pursuant to ITB Clause 19. - An affirmative determination shall be a prerequisite for award of the Contract to the Bidder. A negative determination shall result in disqualification of the bid, in which event the Purchaser shall proceed to the next lowest evaluated bid to make a similar determination of that Bidder’s capabilities to perform satisfactorily. |
| Purchaser’s Right to Accept Any Bid, and to Reject Any or All Bids | - The Purchaser reserves the right to accept or reject any bid, and to annul the bidding process and reject all bids at any time prior to contract award, without thereby incurring any liability to Bidders. |
|  | Award of Contract |
| Award Criteria | - The Purchaser shall award the Contract to the Bidder whose offer has been determined to be the lowest evaluated bid and is substantially responsive to the Bidding Documents, provided further that the Bidder is determined to be qualified to perform the Contract satisfactorily. |
| Purchaser’s Right to Vary Quantities at Time of Award | - At the time the Contract is awarded, the Purchaser reserves the right to increase or decrease the quantity of Goods and Related Services originally specified in Section VI, Schedule of Requirements, provided this does not exceed the percentages specified in the BDS, and without any change in the unit prices or other terms and conditions of the bid and the Bidding Documents. |
| Notification of Award | - Prior to the expiration of the period of bid validity, the Purchaser shall notify the successful Bidder, in writing, that its Bid has been accepted. - Until a formal Contract is prepared and executed, the notification of award shall constitute a binding Contract. - The Purchaser shall publish in UNDB online and in the demarked the results identifying the bid and lot numbers and the following information: (i) name of each Bidder who submitted a Bid; (ii) bid prices as read out at bid opening; (iii) name and evaluated prices of each Bid that was evaluated; (iv) name of bidders whose bids were rejected and the reasons for their rejection; and (v) name of the winning Bidder, and the price it offered, as well as the duration and summary scope of the contract awarded. After publication of the award, unsuccessful bidders may request in writing to the Purchaser for a debriefing seeking explanations on the grounds on which their bids were not selected. The Purchaser shall promptly respond in writing to any unsuccessful Bidder who, after Publication of contract award, requests a debriefing. - Upon the successful Bidder’s furnishing of the signed Contract Form and performance security pursuant to ITB Clause 44, the Purchaser will promptly notify each unsuccessful Bidder and will discharge its bid security, pursuant to ITB Clause 21.4. |
| Signing of Contract | - Promptly after notification, the Purchaser shall send the successful Bidder the Agreement and the Special Conditions of Contract. - Within twenty-eight (28) days of receipt of the Agreement, the successful Bidder shall sign, date, and return it to the Purchaser. - Notwithstanding ITB 43.2 above, in case signing of the Contract Agreement is prevented by any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, where such export restrictions arise from trade regulations from a country supplying those products/goods, systems or services, the Bidder shall not be bound by its bid, always provided, always provided, however, that the Bidder can demonstrate to the satisfaction of the Purchaser and of the Bank that signing of the Contact Agreement has not been prevented by any lack of diligence on the part of the Bidder in completing any formalities, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract. |
| Performance Security | - Within twenty eight (28) days of the receipt of notification of award from the Purchaser, the successful Bidder, if required, shall furnish the Performance Security in accordance with the GCC, using for that purpose the Performance Security Form included in Section IX Contract forms, or another Form acceptable to the Purchaser. The Purchaser shall promptly notify the name of the winning Bidder to each unsuccessful Bidder and discharge the Bid Securities of the unsuccessful bidders pursuant to ITB Sub-Clause 21.4. - Failure of the successful Bidder to submit the above-mentioned Performance Security or sign the Contract shall constitute sufficient grounds for the annulment of the award and forfeiture of the Bid Security or execution of the Bid-Securing Declaration. In that event the Purchaser may award the Contract to the next lowest evaluated Bidder, whose offer is substantially responsive and is determined by the Purchaser to be qualified to perform the Contract satisfactorily. |

| Section II. Bidding Data Sheet (BDS) The following specific data for the goods to be procured shall complement, supplement, or amend the provisions in the Instructions to Bidders (ITB). Whenever there is a conflict, the provisions herein shall prevail over those in ITB. |  |
| --- | --- |
| ITB Clause Reference | A. General |
| ITB 1.1 | The Purchaser is: Palestinian Energy Authority (PEA) |
| ITB 1.1 | The name and identification number of the ICB are: PEA-TU 01/2011 The number, identification and names of the lots comprising this ICB are: The ICB is comprised of one lot Vocational and Operational center for Photovoltaic Applications For the benefit of TDECO. |
| ITB 2.1 | The Borrower is: Palestine Liberation Organization |
| ITB 2.1 | The name of the Project is: Grid Tie Photovoltaic System |
|  | B. Contents of Bidding Documents |
| ITB 7.1 | For Clarification of bid purposes only, the Purchaser’s address is: Attention: Procurement Officer Al-Irsal Street, Zahrat Al-Masayef Building, 3rd floor City: Al-Bireh Country: West Bank and Gaza Telephone: +972(970) 2 2984752 Facsimile number: +972(970) 2 2984753 Electronic mail address: procurement@menr.org,,, perc@palnet.com |
|  | C. Preparation of Bids |
| ITB 10.1 | The language of the bid is “English” |
| ITB 11.1 (h) | The Bidder shall submit the following additional documents in its bid: - The PV system design ( if the bidder have another design) - The structure design - 2 copies of equipments catalogue . - Work description - Calculations corresponding to drawings and the designee( if the bidder have another design) - Shop Drawing for electrical panels |
| ITB 13.1 | Alternative Bids “shall not be” considered. |
| ITB 14.5 | The Incoterm edition is: “Incoterm 2000”. |
| ITB 14.6 (b) (i) and (c) (iii) | Place of Destination: Tubas-West Bank - Palestine |
| ITB 14.6 (a) (iii);(b)(ii) and (c)(v) | “Final destination (Tubas-West Bank - Palestine)”: Vocational and Operational center for Photovoltaic Applications |
| ITB 14.6 (b) (iii) | In addition to the CIP price specified in ITB 14.6 (b)(i), the price of the Goods manufactured outside the Purchaser’s Country shall be quoted: * FCA supplier’s country. * In addition inland transportation. * DDU final including unloading of goods. |
| ITB 14.7 | The prices quoted by the Bidder shall not be adjustable. |
| ITB 14.8 | Prices quoted for each lot shall correspond at least to 100 % of the items specified for each lot. Prices quoted for each item of a lot shall correspond at least to 100 % of the quantities specified for this item of a lot. |
| ITB 15.1 | The Bidder “is not”’ required to quote in the currency of the Purchaser’s Country the portion of the bid price that corresponds to expenditures incurred in that currency. ALL PRICES SHALL BE QUOTED IN UNITED STATES DOLLARS (USD) |
| ITB 18.3 | Period of time the Goods are expected to be functioning (for the purpose of spare parts): Two years |
| ITB 19.1 (a) | Manufacturer’s authorization is : “required” |
| ITB 19.1 (b) | After sales service is: “required” |
| ITB 20.1 | The bid validity period shall be 90 days. |
| ITB 21.1 | Bid shall include a Bid Security (issued by bank or surety) included in Section IV Bidding Forms. |
| ITB 21.2 | The amount of the Bid Security shall be: 3% |
| ITB 21.7 | If the Bidder incurs any of the actions prescribed in subparagraphs (a) or (b) of this provision, the Borrower will declare the Bidder ineligible to be awarded contracts by the Purchaser for a period of two years. |
| ITB 22.1 | In addition to the original of the bid, the number of copies is: 2copies |
|  | D. Submission and Opening of Bids |
| ITB 23.1 | Bidders “shall not” have the option of submitting their bids electronically. |
| ITB 23.1 (b) | Not Applicable |
| ITB 23.2 (c) | The inner and outer envelopes shall bear the following additional identification marks: contract PEA-TU 01/2011 |
| ITB 24.1 | For bid submission purposes, the Purchaser’s address is: Attention: Dr. Omar Kittaneh, Chairman Address: Palestinian Energy Authority (PEA) Al-Irsal street, Zahret Al-Masayef Building, 3rd floor City: Al-Bireh Country: West Bank and Gaza Tel: +972 2 2984752 The deadline for the submission of bids is: Date: 3rd November, 2011 Time: 11 a.m. local time |
| ITB 27.1 | The bid opening shall take place at: Street Address: Al-Irsal Street, Palestinian Energy Authority, Zahret AlMasayef Building, 3rd floor City: Al-Bireh Country: West Bank and Gaza Date: 3rd November, 2011 Time: 12:00 p.m. local time |
|  | E. Evaluation and Comparison of Bids |
| ITB 34.1 | Bid prices expressed in U.S. Dollars. |
| ITB 35.1 | Domestic preference “shall not” be a bid evaluation factor. |
| ITB 36.3(a) | Evaluation will be done for one Lot. Bids will be evaluated as one lot. If a Price Schedule shows items listed but not priced, their prices shall be assumed to be included in the prices of other items. An item not listed in the Price Schedule shall be assumed to be not included in the bid, and provided that the bid is substantially responsive, the average price of the item quoted by substantially responsive bidders will be added to the bid price and the equivalent total cost of the bid so determined will be used for price comparison. |
| ITB 36.3(d) | The adjustments shall be determined using the following criteria, from amongst those set out in Section III, Evaluation and Qualification Criteria: - Deviation in Delivery schedule: Yes each week delay will be weighted with zero point three percent (0.3 %) of the FCA price as penalty). - Deviation in payment schedule: Not applicable. - The cost of major replacement components, mandatory spare parts, and service: Not applicable. - The availability in the Purchaser’s Country of spare parts and after-sales services for the equipment offered in the bid (Not applicable). - The projected operating and maintenance costs during the life of the equipment (Not applicable). - The performance and productivity of the equipment offered (Not applicable). - Cost of inland transportation etc. to final destination including unloading goods shall be included in bid price. |
| ITB 36.6 | Not Applicable |
|  | F. Award of Contract |
| ITB 41.1 | The maximum percentage by which quantities may be increased or decreased is: 25% |

Section III.  Evaluation and Qualification Criteria

This Section complements the Instructions to Bidders. It contains the criteria that the Purchaser may use to evaluate a bid and determine whether a Bidder has the required qualifications. No other criteria shall be used.

Contents

1. Domestic Preference (ITB 35.1)

2. Evaluation Criteria (ITB 36.3 (d))

3. Multiple Contracts (ITB 36.6)

4. Post qualification Requirements (ITB 38.2)

1. Domestic Preference (ITB 35.1)

Not Applicable.

2. Evaluation Criteria (ITB 36.3 (d))

The Purchaser’s evaluation of a bid may take into account, in addition to the Bid Price quoted in accordance with ITB Clause 14.6, one or more of the following factors as specified in ITB Sub-Clause 36.3(d) and in BDS referring to ITB 36.3(d), using the following criteria and methodologies.

(a)	Delivery schedule. (as per Incoterms specified in the BDS)

The Goods specified in the List of Goods are required to be delivered within the acceptable time range (after the earliest and before the final date, both dates inclusive) specified in Section VI, Delivery Schedule.  No credit will be given to deliveries before the earliest date, and bids offering delivery after the final date shall be treated as non responsive.  Within this acceptable period, an adjustment, as specified in BDS Sub-Clause 36.3(d), will be added, for evaluation purposes only, to the bid price of bids offering deliveries later than the “Earliest Delivery Date” specified in Section VI , Delivery Schedule.

(b)	Deviation in payment schedule.

Not applicable

(c)	Cost of major replacement components, mandatory spare parts, and service.

Not applicable

(d)	Availability in the Purchaser’s Country of spare parts and after sales services for equipment offered in the bid.

Not applicable

(e)	Projected operating and maintenance costs.

Not applicable

(f)	Performance and productivity of the equipment.

Not applicable

- cost of inland transportation ect. To final destination

In addition inland transport to TDECO warehouse in Tubas – Palestine  shall be quoted.

3. Multiple Contracts (ITB 36.6)

The Purchaser shall award multiple contracts to the Bidder that offers the lowest evaluated combination of bids (one contract per bid) and meets the post-qualification criteria (this Section III, Sub-Section ITB 38.2 Post-Qualification Requirements)

The Purchaser shall:

(a)	evaluate only lots or contracts that include at least the percentages of items per lot and quantity per item as specified in ITB Sub Clause 14.8

(b)	take into account:

      - the lowest-evaluated bid for each lot and

(ii)	the price reduction per lot and the methodology for its  application as offered by the Bidder in its bid”

4. Post qualification Requirements (ITB 38.2)

After determining the lowest-evaluated bid in accordance with ITB Sub-Clause 37.1, the Purchaser shall carry out the post qualification of the Bidder in accordance with ITB Clause 38, using only the requirements specified.  Requirements not included in the text below shall not be used in the evaluation of the Bidder’s qualifications.

(a) 	Financial Capability

The Bidder shall furnish documentary evidence that it meets the following financial requirement(s):

- To present duly certified copies of the last three (3) years balance sheet profit and loss account;

- To show a financial turnover of the last three years balance sheet of at least the amount of this bid per year;

- To have no overdue debts of any kind towards the Revenue Authorities and the Purchaser.

(b)	Experience and Technical Capacity

The Bidder shall furnish documentary evidence to demonstrate that it meets the following experience requirement(s):

- To present a list of reference for sold goods and/or executed works with similar characteristics as for those requested. The list shall cover the last five (5) years for supply of goods, as well as supply in progress;

- To show a profile description of the company;

Section IV. Bidding Forms

Table of Forms

Bidder Information Form	38

Joint Venture Partner Information Form	39

Bid Submission Form	40

Bid Security (Bank Guarantee)	48

Bid Security (Bid Bond)	50

Bid-Securing Declaration	51

Manufacturer’s Authorization	52

Bidder Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below. No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Page ________ of_ ______ pages

1. Bidder’s Legal Name [insert Bidder’s legal name]

2. In case of JV, legal name of each party: [insert legal name of each party in JV]

3. Bidder’s actual or intended Country of Registration: [insert actual or intended Country of Registration]

4. Bidder’s Year of Registration: [insert Bidder’s year of registration]

5. Bidder’s Legal Address in Country of Registration: [insert Bidder’s legal address in country of registration]

6. Bidder’s Authorized Representative Information Name: [insert Authorized Representative’s name] Address: [insert Authorized Representative’s Address] Telephone/Fax numbers: [insert Authorized Representative’s telephone/fax numbers] Email Address: [insert Authorized Representative’s email address]

7. Attached are copies of original documents of: [check the box(es) of the attached original documents]  Articles of Incorporation or Registration of firm named in 1, above, in accordance with ITB Sub-Clauses 4.1 and 4.2. - In case of JV, letter of intent to form JV or JV agreement, in accordance with ITB Sub-Clause 4.1. - In case of government owned entity from the Purchaser’s country, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB Sub-Clause 4.5.

Joint Venture Partner Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Page ________ of_ ______ pages

1. Bidder’s Legal Name: [insert Bidder’s legal name]

2. JV’s Party legal name: [insert JV’s Party legal name]

3. JV’s Party Country of Registration: [insert JV’s Party country of registration]

4. JV’s Party Year of Registration: [insert JV’s Part year of registration]

5. JV’s Party Legal Address in Country of Registration: [insert JV’s Party legal address in country of registration]

6. JV’s Party Authorized Representative Information Name: [insert name of JV’s Party authorized representative] Address: [insert address of JV’s Party authorized representative] Telephone/Fax numbers: [insert telephone/fax numbers of JV’s Party authorized representative] Email Address: [insert email address of JV’s Party authorized representative]

7. Attached are copies of original documents of: [check the box(es) of the attached original documents]  Articles of Incorporation or Registration of firm named in 2, above, in accordance with ITB Sub-Clauses 4.1 and 4.2. - In case of government owned entity from the Purchaser’s country, documents establishing legal and financial autonomy and compliance with commercial law, in accordance with ITB Sub-Clause 4.5.

Bid Submission Form

[The Bidder shall fill in this Form in accordance with the instructions indicated No alterations to its format shall be permitted and no substitutions shall be accepted.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Invitation for Bid No.: [insert No of IFB]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To:  [insert complete name of Purchaser]

We, the undersigned, declare that:

- We have examined and have no reservations to the Bidding Documents, including Addenda No.: ______________[insert the number and issuing date of each Addenda];

- We offer to supply in conformity with the Bidding Documents and in accordance with the Delivery Schedules specified in the Schedule of Requirements the following Goods and Related Services _______________________ [insert a brief description of the Goods and Related Services];

- The total price of our Bid, excluding any discounts offered in item (d) below, is: ______________________________[insert the total bid price in words and figures, indicating the various amounts and the respective currencies];

- The discounts offered and the methodology for their application are:

Discounts.  If our bid is accepted, the following discounts shall apply._______  [Specify in detail each discount offered and the specific item of the Schedule of Requirements to which it applies.]

Methodology of Application of the Discounts. The discounts shall be applied using the following method:__________ [Specify in detail the method that shall be used to apply the discounts];

- Our bid shall be valid for the period of time specified in ITB Sub-Clause 20.1, from the date fixed for the bid submission deadline in accordance with ITB Sub-Clause 24.1, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

- If our bid is accepted, we commit to obtain a performance security in accordance with ITB Clause 44 and GCC Clause 18 for the due performance of the Contract;

- We, including any subcontractors or suppliers for any part of the contract, have nationality from eligible countries________ [insert the nationality of the Bidder, including that of all parties that comprise the Bidder, if the Bidder is a JV, and the nationality each subcontractor and supplier]

- We have no conflict of interest in accordance with ITB Sub-Clause 4.2;

- Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the contract—has not been declared ineligible by the Bank, under the Purchaser’s country laws or official regulations, in accordance with ITB Sub-Clause 4.3;

- The following commissions, gratuities, or fees have been paid or are to be paid with respect to the bidding process or execution of the Contract: [insert complete name of each Recipient, its full address, the reason for which each commission or gratuity was paid and the amount and currency of each such commission or gratuity]

| Name of Recipient | Address | Reason | Amount |
| --- | --- | --- | --- |

(If none has been paid or is to be paid, indicate “none.”)

(k)	We understand that this bid, together with your written acceptance thereof included in your notification of award, shall constitute a binding contract between us, until a formal contract is prepared and executed.

(l)	We understand that you are not bound to accept the lowest evaluated bid or any other bid that you may receive.

Signed:_______________ [insert signature of person whose name and capacity are shown]

In the capacity of _______[insert legal capacity of person signing the Bid Submission Form]

Name:____________ [insert complete name of person signing the Bid Submission Form]

Duly authorized to sign the bid for and on behalf of:_____ [insert complete name of Bidder]

Dated on ____________ day of __________________, _______ [insert date of signing]

Price Schedule Forms

[The Bidder shall fill in these Price Schedule Forms in accordance with the instructions indicated.  The list of line items in column 1 of the Price Schedules shall coincide with the List of Goods and Related Services specified by the Purchaser in the Schedule of Requirements.]

| OVERALL SUMMARY, SCHEDULE A |  |  |
| --- | --- | --- |
| Item | Description | Total cost in USD |
| 1 | Sum of (all equipments and material , machines including erection) |  |
| 2 | TOTAL BID PRICE (Transfer to Form of Bid) |  |

| Vocational and Operational center for Photovoltaic Applications in Tubas City |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| *The contract must provide devices and works according to usual quality standards. |  |  |  |  |  |  |  |
| *The selection will be according to the best specification and efficiency. |  |  |  |  |  |  |  |
| *The design must be reference to the attached land drawing (TSP-01A). |  |  |  |  |  |  |  |
| * 25 years linear power warranty linear power decrease of no more than 0,8% per year so 80% for 25 years |  |  |  |  |  |  |  |
| BILL No. (1/1) |  | ELECTRICAL WORKS |  |  |  |  |  |
| Item | DESCRIPTION | Unit | Quantity | Rate |  | Total |  |
| NO. |  |  |  | USD | CENT | USD | CENT |
|  | solar energy for main project: |  |  |  |  |  |  |
|  | Preamble: |  |  |  |  |  |  |
|  | This BOQ shall be read in conjunction as parts of the electric technical specifications (general and particular) and the electrical drawings except where otherwise indicated. The unit price for all items in all sections shall include for, designing, supplying, installation and commissioning unless otherwise specially mentioned. The price is also including submittal of working drawings, as built drawings and coordinating drawings by sheets and by computer diskettes. The contactor must submit trade marks for each equipment with catalogs according to the approved manufacturer that must be attached to the tender documents. |  |  |  |  |  |  |
| 1.1 | work description: |  |  |  |  |  |  |
|  | Delivering ,installing ,operating , testing , designing and Whatever needed to install 70kW (more or less) On grid PV system with remote controlling and monitoring and optimum shadowing, laid on ground suitable for the attach plan ,connected to HV side of exciting grid according to drawing and Engineer instructions. |  |  |  |  |  |  |
|  | TOTAL CARRIED TO NEXT PAGE |  |  |  |  |  |  |
| BILL No. (1/2) |  | ELECTRICAL WORKS |  |  |  |  |  |
| Item | DESCRIPTION | Unit | Quantity | Rate |  | Total |  |
| NO. |  |  |  | USD | CENT | USD | CENT |
|  | FORWARDED TOTAL |  |  |  |  |  |  |
| 1.1.a | Supply ,install , connect & test 170Wp polycrystalline PV modules with and all other material needed to have complete job ready for installing high quality PV modules . | module | 420 |  |  |  |  |
| 1.1.b | Supply , install , connect & test ,10KVA inverter, compatible with item (1.1.a) . | No. | 7 |  |  |  |  |
| 1.1.c | Supply , install , connect & 100 KVA step up Transformer and all other material needed to have complete job ready for installing Transformer station , ABB or equivalent approved . | L.S | 1 |  |  |  |  |
| 1.1.d | Supply , install , connect and test KWh meter , with all other material needed to have a complete job ready for installing net metering . | No. | 1 |  |  |  |  |
| 1.1.e | Remote controlling and monitoring System with all other material needed to have a complete job ready. | L.S | 1 |  |  |  |  |
| 1.2 | Cables: |  |  |  |  |  |  |
| 1.2.a | DC.Side |  |  |  |  |  |  |
|  | Supply , install and connect 2.5 mm2 copper cable , up to inverter including insertion into conduit or attachment to structural elements or laying in ductwork , cable tray (if necessary) or shaft including all associated materials insulation materials union ,cable couplers ,plug system and connection of cable at both ends. | m | 1000 |  |  |  |  |
|  | TOTAL CARRIED TO NEXT PAGE |  |  |  |  |  |  |
|  | BILL No. (1/3) | ELECTRICAL WORKS |  |  |  |  |  |
| Item | DESCRIPTION | Unit | Quantity | Rate |  | Total |  |
| NO. |  |  |  | USD | CENT | USD | CENT |
| 1.2.b | AC. Side |  |  |  |  |  |  |
|  | Supply , install and connect 3x 35mm2 copper cable from inverter to main Junction Box including insertion into conduit or attachment to structural elements or laying in ductwork , cable tray (if necessary) or shaft including all associated materials insulation materials unions, and connection of cable at both ends. | m | 500 |  |  |  |  |
| 1.2.c | AC. Side |  |  |  |  |  |  |
|  | Supply , install and connect 3x50mm2 copper cable from main Junction Box to Transformer including insertion into conduit or attachment to structural elements or laying in ductwork , cable tray (if necessary) or shaft including all associated materials insulation materials unions and connection of cable at both ends. | m | 50 |  |  |  |  |
| 1.3 | UPVC Conduits |  |  |  |  |  |  |
| 1.3.a | Supply, install and test , ( ½ inch ) UPVC Conduits UV-resistant for electrical cables between PV modules and inverter compatible with item (1.2.a) | m | 500 |  |  |  |  |
| 1.3.b | Supply, install and test (1½ inch)UPVC Conduits UV-resistant for electrical cables between inverters and Junction Box compatible with item (1.2.b) | m | 500 |  |  |  |  |
| 1.4 | structure: | L.S | 1 |  |  |  |  |
|  | Design Aluminum Alloy structure suitable to the dimension of selected PV modules and not less than 1.5 mm2 thickness |  |  |  |  |  |  |
| 1.5 | Electrical Panels: |  |  |  |  |  |  |
| 1.5.a | Supply, install ,Design , test and commission complete DC Electrical Panel that will be located on the rear panel structure . | No. | 7 |  |  |  |  |
| 1.5.b | Supply, install ,Design, test and commission complete Main Junction Box | No. | 1 |  |  |  |  |
| 1.7 | Commissioning and training TDECO technicians | L.S | 1 |  |  |  |  |
| TOTAL |  |  |  |  |  |  |  |

Bid Security (Bank Guarantee)

[The Bank shall fill in this Bank Guarantee Form in accordance with the instructions indicated.]

________________________________
[Bank’s Name, and Address of Issuing Branch or Office]

Beneficiary:	___________________ [Name and Address of Purchaser]

Date:	________________

BID GUARANTEE No.:	_________________

We have been informed that [name of the Bidder] (hereinafter called "the Bidder") has submitted to you its bid dated (hereinafter called "the Bid") for the execution of [name of contract] under Invitation for Bids No. [IFB number] (“the IFB”).

Furthermore, we understand that, according to your conditions, bids must be supported by a bid guarantee.

At the request of the Bidder, we [name of Bank] hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of [amount in figures] ([amount in words]) upon receipt by us of your first demand in writing accompanied by a written statement stating that the Bidder is in breach of its obligation(s) under the bid conditions, because the Bidder:

(a) 	has withdrawn its Bid during the period of bid validity specified by the Bidder in the Form of Bid; or

(b) 	having been notified of the acceptance of its Bid by the Purchaser during the period of bid validity, (i) fails or refuses to execute the Contract Form; or (ii) fails or refuses to furnish the performance security, if required, in accordance with the Instructions  to Bidders.

This guarantee will expire: (a) if the Bidder is the successful bidder, upon our receipt of copies of the contract signed by the Bidder and the performance security issued to you upon the instruction of the Bidder; or (b) if the Bidder is not the successful bidder, upon the earlier of (i) our receipt of a copy of your notification to the Bidder of the name of the successful bidder; or (ii) twenty-eight days after the expiration of the Bidder’s Bid.

Consequently, any demand for payment under this guarantee must be received by us at the office on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458.

_____________________________

[signature(s)]

Bid Security (Bid Bond)

[The Surety shall fill in this Bid Bond Form in accordance with the instructions indicated.]

BOND NO. ______________________

BY THIS BOND [name of Bidder] as Principal (hereinafter called “the Principal”), and [name, legal title, and address of surety], authorized to transact business in [name of country of Purchaser], as Surety (hereinafter called “the Surety”), are held and firmly bound unto [name of Purchaser] as Oblige (hereinafter called “the Purchaser”) in the sum of [amount of Bond] [amount in words], for the payment of which sum, well and truly to be made, we, the said Principal and Surety, bind ourselves, our successors and assigns, jointly and severally, firmly by these presents.

WHEREAS the Principal has submitted a written Bid to the Purchaser dated the ___ day of ______, 20__, for the construction of [name of Contract] (hereinafter called the “Bid”).

NOW, THEREFORE, THE CONDITION OF THIS OBLIGATION is such that if the Principal:

- withdraws its Bid during the period of bid validity specified in the Form of Bid; or

- having been notified of the acceptance of its Bid by the Purchaser during the period of Bid validity; (i) fails or refuses to execute the Contract Form; or (ii) fails or refuses to furnish the Performance Security, if required,  in accordance with the Instructions to Bidders.

then the Surety undertakes to immediately pay to the Purchaser up to the above amount upon receipt of the Purchaser’s first written demand, without the Purchaser having to substantiate its demand, provided that in its demand the Purchaser shall state that the demand arises from the occurrence of any of the above events, specifying which event(s) has occurred.

The Surety hereby agrees that its obligation will remain in full force and effect up to and including the date 28 days after the date of expiration of the Bid validity as stated in the Invitation to Bid or extended by the Purchaser at any time prior to this date, notice of which extension(s) to the Surety being hereby waived.

IN TESTIMONY WHEREOF, the Principal and the Surety have caused these presents to be executed in their respective names this ____ day of ____________ 20__.

Principal: _______________________	Surety: _____________________________
	Corporate Seal (where appropriate)

_______________________________	____________________________________
(Signature)	(Signature)
(Printed name and title)	(Printed name and title)

Bid-Securing Declaration

[The Bidder shall fill in this Form in accordance with the instructions indicated.]

Date: [date (as day, month and year)]

Bid No.: [number of bidding process]

Alternative No.: [identification No if this is a Bid for an alternative]

To: [complete name of Purchaser]

We, the undersigned, declare that:

We understand that, according to your conditions, bids must be supported by a Bid-Securing Declaration.

We accept that we will automatically be suspended from being eligible for bidding in any contract with the Purchaser for the period of time of [number of months or years] starting on [date], if we are in breach of our obligation(s) under the bid conditions, because we:

(a) 	have withdrawn our Bid during the period of bid validity specified in the Form of Bid; or

(b) 	having been notified of the acceptance of our Bid by the Purchaser during the period of bid validity, (i) fail or refuse to execute the Contract; or (ii) fail or refuse to furnish the Performance Security, if required,  in accordance with the ITB.

We understand this Bid Securing Declaration shall expire if we are not the successful Bidder, upon the earlier of (i) our receipt of your notification to us of the name of the successful Bidder; or (ii) twenty-eight days after the expiration of our Bid.

Signed: [signature of person whose name and capacity are shown] In the capacity of [legal capacity of person signing the Bid Securing Declaration]

Name: [complete name of person signing the Bid Securing Declaration]

Duly authorized to sign the bid for and on behalf of: [complete name of Bidder]

Dated on ____________ day of __________________, _______ [date of signing]
Corporate Seal (where appropriate)

[Note: In case of a Joint Venture, the Bid Securing Declaration must be in the name of all partners to the Joint Venture that submits the bid.]

Manufacturer’s Authorization

[The Bidder shall require the Manufacturer to fill in this Form in accordance with the instructions indicated. This letter of authorization should be on the letterhead of the Manufacturer and should be signed by a person with the proper authority to sign documents that are binding on the Manufacturer.  The Bidder shall include it in its bid, if so indicated in the BDS.]

Date: [insert date (as day, month and year) of Bid Submission]

ICB No.: [insert number of bidding process]

Alternative No.: [insert identification No if this is a Bid for an alternative]

To:  [insert complete name of Purchaser]

WHEREAS

We [insert complete name of Manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of Manufacturer’s factories], do hereby authorize [insert complete name of Bidder] to submit a bid the purpose of which is to provide the following Goods, manufactured by us [insert name and or brief description of the Goods], and to subsequently negotiate and sign the Contract.

We hereby extend our full guarantee and warranty in accordance with Clause 28 of the General Conditions of Contract, with respect to the Goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the Manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the Manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]

Section V.  Eligible Countries

Eligibility for the Provision of Goods.

- 1. Czech Republic.

- 2. Palestine.

# PART 2 – Supply Requirements

Section VI. Schedule of Requirements

Contents

(i)	Technical Data	58

(ii)	Technical Specifications	59

(iii) Drawings Calculations	69

(iv) Inspection and testing	71

- Technical Data

- The Bidder shall complete in full all of the information required in the Technical Schedules forming part of the Technical Specifications (Section VII).

- Partially completed Schedules will not be accepted.

PREAMBLE

  - The Technical Schedules shall be filled in and completed by the Bidder, and submitted with the Bid. This applies also to the Schedules in Section VII – Technical Specifications.

  - All documentation necessary to evaluate whether the equipment offered is in accordance with this Specification shall be submitted with the Bid.

  - All data entered in the Schedules of Technical Guarantees are guaranteed values by the Bidder and cannot be departed from whatsoever.

  - All data entered in the Schedules of Informative Data are also guaranteed values by the Bidder. These data may only be altered following the Project Manager’s written consent.

  - Equipment or Systems offered which are not in accordance with the Specification shall be listed in Schedule 4.

      - Technical Specifications

TABLE OF CONTENTS

1.	GENERAL SPECIFICATIONS	60

1.1	Scope of Work	60

1.2	Site Conditions	60

1.3	Electrical Design Data	61

2.	GENERAL TECHNICAL SPECIFICATIONS	62

2.1	Standards	62

2.2	Type of Works	62

2.3	Completeness of Contract	62

2.4	Materials and Equipment	63

2.5	Standardisation of Equipment	63

2.6	Workmanship	63

2.7	Samples	63

2.8	Progress Reports	64

2.9	Manufacture	64

2.10     National Standards other than IEC	65

2.11     Technical deviations	..................................................................................................66

3.	PARTICULAR TECHNICAL SPECIFICATIONS	67

3.1	Photovoltic Panel	67

3.2	Inerter                              	67

3.3	Monitoring System               	67

3.4	Digital KWH Meter      	68

3.5	Cable                  	68

3.6	Electical Panel 	68

##### GENERAL SPECIFICATIONS

- 1.1	Scope of Work

- The Scope of Work covered by this Contract comprises the supply, delivery at Employer's site West Bank, off-loading and insurance to the Employer's stores OF the equipment necessary for The Vocational and Operational Centre for Photovoltaic Applications

- 1.2	Site Conditions

- The site conditions shall be assumed to be as follows:

| - Item | - Description | - Unit | - Value |
| --- | --- | --- | --- |
| - 1 | - Altitude of site above sea level | - m | - 0-1000 |
| - 2 | - Ambient Temps:- - Maximum - Minimum | - oC - oC | - +45 - + 5 |
| - 3 | - Wind Speed Maximum | - m/s | - 38.8 |
| 4 | - Wind Direction |  | - Northwest Mostly, southeast Occasional |
| - 5 | - Isokeraunic Level |  | - 15 |
| - 6 | - Pollution Type |  | - Dust |
| - 7 | - Relative Humidity - Maximum - Minimum | - % - % | - 100 - <10 |
| - 8 | - Rainfall Average annual | - mm | - 400 |
| - 9 | - Hail |  | - Yes |
| - 10 | - Fog |  | - Yes |
| - 11 | - Sand Storms |  | - Rare |

- 1.3 Electrical Design Data

- a. Electrical condition

| - Item | - Description | - Unit |  |
| --- | --- | --- | --- |
| - 1 | - Nominal system voltage phase to phase (delta connected) | - kV | - 33/.4 |
| - 2 | - Highest system voltage phase – phase | - kV | - 36/.42 |
| - 3 | - System Frequency | - Hz | - 50 |
| - 4 | - System earth |  | - Solid |
| - 5 | - Impulse withstand voltage (1.2/50 sec wave) | - kV peak | - 170 |
| - 6 | - Power frequency withstand voltage 1 min. | - kV | - 70 |
| - 7 | - Assumed highest switching surge |  | - 3.5/2.5 |

- b. Design Description:

The project deals with the connection of solar panels with a transformer station TR1

- Photovoltaic power plant is located on land (Palestine-Tubas- Aynon).

- Installed power panels will be (more or less) 70kW, installed power inverter 7x10KVA .

- Power installed Transformer 33/ 0,4 kV to 100KVA.

- The power plant will be connected to the MV grid.

- The power plant consists of 7x10KVA inverters that are connected to transformer TR1

- Inverter will consist of 60 solar panels divided into 2 strings of inverter each string consists 30 panels ,these string will be connected to Junction Boxes then to inverters.

- Junction Box cabinet and inverters will be located on the rear panel structure.

- All equipment will be done at least. in IP55

- 2	GENERAL TECHNICAL SPECIFICATIONS

- 2.1	Standards

- Basically, the established standard practice IEC shall be applied. Additionally, well reputed and internationally widely used standards will apply as outlined below.

- Unless otherwise specified herein, all material used and equipment supplied and all workmanship and tests shall be in accordance with the latest editions of IEC (International Electro-technical Commission) and ISO standards, or other relevant standards e.g. ANSI, ASTM, BS. In all cases, the Contractor must inform the Employer or the Engineer well in advance precisely to which standards the materials, workmanship or tests will conform. For any such standards that are not written in the English language, the Contractor shall make available copies of an English translation thereof.

- The Contractor will be required to hand over to the Employer or the Engineer two copies of all approved Standards or an English translation thereof.

- Where no standards exist, as in the case of patented or special materials, all such materials and workmanship shall be of the best quality, and full details of the material and any quality control tests to which they may be subjected shall be submitted to the Employer or the Engineer for approval.

- The Contractor shall at all times keep copies of the specified standards and codes and all amendments thereto available for reference and inspection at the places of manufacture.

- 2.2	Type of Works

- The Works covered by this part of the Specifications include the following:

- supply of equipments and machines to the plant

- commissioning of the equipments

- Training TDECO technicians

- Testing of the equipments on site

- Coordination with the construction contractor.

- any other works necessary for full compliance to the Employer's standard

- 2.3	Completeness of Contract

- All components and materials which may not have been specifically mentioned, but which are usual or necessary in the respective equipment for the completeness of finished work in an operable status, shall be deemed to be included in the Contract and shall be provided by the Contractor without any extra charge. All equipment shall be complete in all details, whether or not such details are mentioned in the Specification.

- All materials and skilled labour, whether of temporary or permanent nature, required by the Contractor for the design, manufacture, erection and testing at site of equipment shall be supplied and paid for by the Contractor.

- Any reference in the quantity and price schedules, the delivery times or in various clauses and schedules of the text of either the Specification or the Tender Documents, to any equipment shall imply that the equipment is complete with all accessories, apparatus and fittings as outlined above.

- 2.4	Materials and Equipment

- All materials, whether fully specified herein or not, shall be of first class quality particularly with regard to manufacture, strength, ductility, durability and ability to function and shall conform with the best modern practice and comply in all respects with these specifications. Where applicable, all equipment shall be of tropical design.

- All material shall be inspected and tested in full to prove compliance with the requirements of the specifications to the satisfaction of the Employer or the Engineer, if so required. The testing shall be carried out according to the relevant standards approved by the Employer or the Engineer.

- 2.5	Standardization of Equipment

- All small mechanical and electrical equipment, material and devices for the works shall as far as possible be of the same make and type.

- The Contractor shall be responsible for the standardization of all small mechanical and electrical equipment, materials and devices for the Works. He shall arrange and perform the necessary co-ordination work with his subcontractors for the purpose of such standardization.

- 2.6	Workmanship

- All work, methods of work and workmanship, whether fully specified herein or not, shall be of the highest order. In all respects, the generally accepted requirements and commonly recognized good practice for first class work of this nature are to be adhered to. All work shall be to the satisfaction and approval of the Employer or the Engineer.

- 2.7	Samples

- The Contractor shall without extra payment submit to the Employer or the Engineer for testing and review, samples, patterns and models as are called for in the specifications or required in these conditions or as the Employer or the Engineer may reasonably require for proving compliance with the contract.

- The sample is to be truly representative of the bulk manufacture and is to be manufactured with the same method and with the same equipment used for the bulk manufacture.

- Measurements, design and material shall be in accordance with the drawing, valid standards and technical requirements.

- The supplier shall provide samples clearly marked: "sample", manufacturer, contract number, detail designation and drawing number.

- Within a reasonable period not exceeding one month after receiving such samples, patterns and models a written document will be returned to the Contractor, dated, signed and marked by the Employer or the Engineer, approved or where necessary with proposed corrections indicated.

- Manufacturing starting prior to such approval is done at the Contractor's own responsibility.

- 2.8	Progress Reports

- Work plans, programs and reports shall be provided by the Contractor.

- At the end of each month the Contractor shall submit suitable written progress reports to the Employer or the Engineer. The progress of design, manufacture, transport and delivery during the period, and the total completed to date shall be shown in the reports.

- 2.9	Manufacture

- The Contractor is responsible for the quality of the final product conforming to the requirements laid down in the appropriate specifications and drawings.

- Before commencing any manufacture of the works the Contractor shall submit for the approval of the Employer or the Engineer, the names of the manufacturers and subcontractors from whom he proposes to order any parts of the work. After such approval has been given, the manufacture shall be planned and performed according to the specifications and to the satisfaction of the Employer or the Engineer.

- The Employer or the Engineer shall be afforded every opportunity to control and inspect the manufacture and testing of materials and their assembly in the workshops of the Contractor and his subcontractors.

- Places of Manufacture and Inspection:

| - Item No. | - Name of Goods or Related Service | - Manufacturer | - Place of Manufacture | - Place of Inspection |
| --- | --- | --- | --- | --- |
| - 1.1.a - 1.1.b - 1.1.c - 1.1.d - 1.2 - 1.3 - 1.5 | - PV module - Inverter - Monitoring System - KWH meter - Cable - UPVC conduit - Electrical Panel and C.B’s |  |  |  |

- 2.10 National Standards other than IEC

- National Standards for Equipment not complying with (other than) IEC Standard Recommendations

| - Equipment | - National Standard | - English Title |
| --- | --- | --- |
| - ................................ | - ................................ | - ................................ |
| - ................................ | - ................................ | - ................................ |
| - ................................ | - ................................ | - ................................ |
| - ................................ | - ................................ | - ................................ |
| - ................................ | - ................................ | - ................................ |

- Bidder’s Signature: ____________________  Date: ____________

- 2.11   TECHNICAL DEVIATIONS

- Deviations from the requirements of the specifications

- It will be assumed that the equipment offered will conform to the Specification in all respects, unless departures are specifically mentioned and explained in this Schedule.

| - Item No. | - Item description | - Description of deviation and resulting advantages |
| --- | --- | --- |

- Bidder’s Signature: ____________________________  Date: _______________

- PARTICULAR TECHNICAL SPECIFICATIONS

- 3.1.1.a 	Photovoltaic Panel :

- These Panels should include the following features:

- Made from Multi/ polycrystalline

- 170WP

- STC  efficiency not less than 12.5 %

- Front cover is tempered solar glass

- Frame material is Aluminum,

- Exposed to a Flash Test,

- According IEC 61215 and IEC 61730 certifications.

- 3.1.1.b      Inverter:

Inverter should include the following features:

- 3pahse, 0.4KV, 50Hz, sinusoidal output.

- 10KVA

- Suitable for outdoor (IP 65).

- Suitable for grid connected system (automatically tracking grid synchronization).

- Max THD<3%.

- Wide Dc input range and the DC voltage ripple (peak) <1.5%.

- Noise Level<65 dB (A).

- Multilingual LCD display with interface display (text line/graphic).

- Ground fault monitoring.

- Provided with complete protective function, (C.B in AC side, motorized C.B in DC side).

- Multiple communications, monitor connection RS485.

- According En61000-6-2 and En61000-6-4 Certifications.

- The sum of the Inverters capacity are  up to designer , but the overall capacity should not be less than 70 KW.

- 3.1.1.c       Step up transformer:

- 3pahse.

- 50Hz.

- 0.4KV/33KV.

- star / delta(Yn / D) .

- 100 KVA step up Transformer.

3.1.1.d   	Monitoring System :

Remote Monitoring System via GSM communication which Monitor the following:

- Energy production

- DC string current and Voltage

- Inverter AC Voltage, Current, P.F, Real and reactive Power output.

- The Breaker status ON /OFF and enable to Controlling of these breakers

- wind speed, ambient temperature, module temperature, Irradiance sensor, ambient temperature, photovoltaic cell temperature.

Monitoring system contains:

- Meteorological sensors for (wind speed, ambient temperature, module temperature, Irradiance sensor, ambient temperature, photovoltaic cell temperature).

- sensor box

- Power injector

- Web Box (data logger, ftp server)

- Cabling, switchboards with electrical equipment

- Colored IP camera with IR night lighting

3.1.1.e     Digital KWh Meter:

The KWH meter should have not more than 0.5% accuracy and including current transformer (CT).

3.2             Cable:

All cables should include the following features:

- Double insulated, (0.6/1 kV)

- UV-resistant

- Halogen-free cables

- According VDE & UL Approved.

3.1.5     Electrical Panel :

3.1.5.a : DC Electrical Panel:

This Electrical panel should be type tested according to IEC439-1, IP-61 inclusive of all fuses for DC protection, against reverse current, S.C current, outing and incoming cables, bus bars and their coupling unit, casing spaces for cables, cable clamps/terminals, cable shoes,  as required to form a complete unit.. All shall be in accordance specification, and the codes of practice and highest prevailing standards of engineering.

3.1.5.b : Main Junction box:

This Electrical panel should be type tested according to IEC439-1, IP-61 inclusive of C.B for AC protection , S.C current ,over voltage , frequency protection, surgery arrestor  , outing and incoming cables, bus bars and their coupling unit, casing spaces for cables, cable clamps/terminals, cable shoes,  as required to form a complete unit .All shall be in accordance specification, and the codes of practice and highest prevailing standards of engineering.

(iii) Drawings and Calculations

These Bidding Documents includes the following drawings. :

| Drawing No. | Drawing Name | Purpose | Note |
| --- | --- | --- | --- |
| TSP-01 | Site Plane | To design the PV system . | The Bidder can find the site plane in the following coordinates: 32°18’07.49’’ N 35°23’33.83’’ E |
| TSP-02 | PV Design | The Primary Design Of On Grid PV System | The quantity is refer to this Design |

The new drawings have to be made, such drawings shall comply with the following:

- The Contractor shall prepare all drawings necessary for the works, which shall comply with the specifications included in the contract documents. The Contractor shall prepare his drawings to show the most suitable arrangement of all details and accessories having regard to the conditions applicable. The Contractor shall be entirely responsible for all design and drawings applied.

- The Contractor shall inform himself fully of the actual dimensions, levels, etc., of any other existing or proposed structure before commencing the manufacture of parts dependent on such data.

- The Contractor shall submit to the Employer or the Engineer for review and approval, within the times named in the specifications or agreed in accordance with these conditions, such general, workshop and erection drawings, , as are called for in the specifications or required by these conditions, or as the Employer or the Engineer may reasonably require.

- Copies of all drawings to be reviewed by the Employer or the Engineer shall be provided to him in triplicate by the Contractor or more copies if requested by the Employer, and the Contractor shall ensure that such drawings are submitted in sufficient time to permit checking and correcting thereof before they are required to be used. Dispatching of drawings to and from the Employer or the Engineer shall be effected by the most expeditious way of transport.

- Within a reasonable period not exceeding one month after receiving such drawings and calculation one copy of each document will be returned to the Contractor, dated, signed and marked by the Employer or the Engineer and, where necessary with proposed corrections indicated.

- Drawings marked "Not Approved" shall be corrected by the Contractor and sent to the Employer or the Engineer for his further review.

- No drawings prepared by the Contractor which require to be reviewed by the Employer or the Engineer, shall be used for manufacturing purposes until they have been marked "Approved" and signed by the Employer or the Engineer. Manufacturing starting prior to receipt of "Approved" drawing is done at the Contractor's own responsibility.

- Approval of the Contractor's drawings shall not relieve the Contractor of any of his obligations under this contract or of his responsibility for the correctness of the design and drawings.

- As soon as the Contractor's transparent copies have been approved, the Contractor shall, in addition to the copies for his own use, distribute copies of the approved drawings and such other particulars as directed by the Employer or the Engineer, to the Employer (3 paper copies) and to any other parties who may, in the opinion of the Employer or the Engineer, require them. One copy of the drawings shall be kept by the Contractor, and shall at all reasonable times be available for inspection and use by the Employer or the Engineer and by any other person authorized in writing by the employer. The latest updated version of drawings shall be used during the manufacturing and erection period.

- For all documents, written or drawn, the SI system of units shall be used.

Drawing sizes shall conform to the ISO standards, i.e.

A1	(594 x 841 mm)

A2	(420 x 594 mm)

A3	(297 x 420 mm)

A4	(210 x 297 mm)

Sizes larger than A1 shall be avoided.

- All measurements on the drawings shall be given in mm. All text in the documentation shall be in the English language. Each calculation and main drawing shall have a blank space in the lower right hand corner for the client's title block and identification numbers. A revision block shall be located adjacent to the title block.

Calculations shall be in size A4.

- The Contractor shall during the total project time maintain a List of Documentation to be updated by him whenever needed. The list of Documentation shall include the date of original issue of each document submitted as well as the dates of every revision. The List of Documentation shall also include a time schedule for submittal of the documentation.

(iv) Inspection and testing

A program of the tests in factory written by the Contractor showing the different inspection procedures shall be mutually agreed between the Contractor and the Employer or the Engineer.

The Contractor shall keep the Employer or the Engineer informed about the course of manufacture of materials and works, so that the inspection and testing can be performed in the presence of the Employer or the Engineer.

Before every inspection and test witnessed by the Employer or the Engineer the Contractor shall satisfy himself that the work is in all respects in accordance with the specification ready for inspection and testing.

All parts shown to be defective during testing or inspection shall be rejected if so directed by the Employer or the Engineer or shall be made good or repaired to the satisfaction of the Employer or the Engineer at the Contractor's cost. Such parts as are made good or repaired shall be re-tested and re-inspected.

Full and complete testing of components shall be carried out to the satisfaction of the Employer or the Engineer.

The Contractor shall give a complete description of proposed test methods. All instruments and equipment necessary for testing shall be provided by the Contractor. The test reports shall be submitted to the Employer or the Engineer for review in three copies.

The Contractor shall, at his own cost, carry out all non-destructive tests necessary to prove compliance with the specifications.

# PART 3 - Contract

Section VII. General Conditions of Contract

Table of Clauses

1.	Definitions	75

2.	Contract Documents	76

3.	Fraud and Corruption	76

4.	Interpretation	77

5.	Language	78

6.	Joint Venture, Consortium or Association	79

7.	Eligibility	79

8.	Notices	79

9.	Governing Law	79

10.	Settlement of Disputes	79

11.	Inspections and Audit by the Bank	80

12.	Scope of Supply	80

13.	Delivery and Documents	80

14.	Supplier’s Responsibilities	80

15.	Contract Price	81

16.	Terms of Payment	81

17.	Taxes and Duties	81

18.	Performance Security	81

19.	Copyright	82

20.	Confidential Information	82

21.	Subcontracting	83

22.	Specifications and Standards	83

23.	Packing and Documents	84

24.	Insurance	84

25.	Transportation	84

26.	Inspections and Tests	84

27.	Liquidated Damages	85

28.	Warranty	86

29.	Patent Indemnity	87

30.	Limitation of Liability	88

31.	Change in Laws and Regulations	88

32.	Force Majeure	88

33.	Change Orders and Contract Amendments	89

34.	Extensions of Time	90

35.	Termination	90

36.	Assignment	91

37.	Export Restriction	91

Section VII.  General Conditions of Contract

| Definitions |  | 1.1 The following words and expressions shall have the meanings hereby assigned to them: ### “Bank” means the Government of the Czech Republic. ### “Contract” means the Contract Agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendices, and all documents incorporated by reference therein. ### “Contract Documents” means the documents listed in the Contract Agreement, including any amendments thereto. ### “Contract Price” means the price payable to the Supplier as specified in the Contract Agreement, subject to such additions and adjustments thereto or deductions there from, as may be made pursuant to the Contract. ### “Day” means calendar day. ### “Completion” means the fulfillment of the Related Services by the Supplier in accordance with the terms and conditions set forth in the Contract. ### “GCC” means the General Conditions of Contract. ### “Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract. ### “Purchaser’s Country” is the country specified in the Special Conditions of Contract (SCC). ### “Purchaser” means the entity purchasing the Goods and Related Services, as specified in the SCC. ### “Related Services” means the services incidental to the supply of the goods, such as insurance, installation, training and initial maintenance and other such obligations of the Supplier under the Contract. ### “SCC” means the Special Conditions of Contract. ### “Subcontractor” means any natural person, private or government entity, or a combination of the above, to whom any part of the Goods to be supplied or execution of any part of the Related Services is subcontracted by the Supplier. ### “Supplier” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Purchaser and is named as such in the Contract Agreement. ### “The Project Site,” where applicable, means the place named in the SCC. |
| --- | --- | --- |
| 2. Contract Documents |  | - Subject to the order of precedence set forth in the Contract Agreement, all documents forming the Contract (and all parts thereof) are intended to be correlative, complementary, and mutually explanatory. The Contract Agreement shall be read as a whole. |
| 3. Fraud and Corruption |  | 3.1 If the Purchaser determines that the Supplier and/or any of its personnel, or its agents, or its Subcontractors, consultants, service providers, suppliers and/or their employees has engaged in corrupt, fraudulent, collusive, coercive or obstructive practices, in competing for or in executing the Contract, then the Purchaser may, after giving 14 days notice to the Supplier, terminate the Supplier's employment under the Contract and cancel the contract, and the provisions of Clause 35 shall apply as if such expulsion had been made under Sub-Clause 35.1. (a) For the purposes of this Sub-Clause: (i) “corrupt practice” is the offering, giving, receiving or soliciting, directly or indirectly, of anything of value to influence improperly the actions of another party; (ii) “fraudulent practice” is any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; (iii) “collusive practice” is an arrangement between two or more parties designed to achieve an improper purpose, including to influence improperly the actions of another party; (iv) “coercive practice” is impairing or harming, or threatening to impair or harm, directly or indirectly, any party or the property of the party to influence improperly the actions of a party; (v) “obstructive practice” is (aa) deliberately destroying, falsifying, altering or concealing of evidence material to the investigation or making false statements to investigators in order to materially impede a Bank investigation into allegations of a corrupt, fraudulent, coercive or collusive practice; and/or threatening, harassing or intimidating any party to prevent it from disclosing its knowledge of matters relevant to the investigation or from pursuing the investigation; or (bb) acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under Clause 11 [Inspections and Audits by the Bank]. 3.2 Should any employee of the Supplier be determined to have engaged in corrupt, fraudulent, collusive, coercive, or obstructive practice during the purchase of the Goods, then that employee shall be removed. |
| 4.Interpretation |  | - If the context so requires it, singular means plural and vice versa. - Incoterms ### Unless inconsistent with any provision of the Contract, the meaning of any trade term and the rights and obligations of parties there under shall be as prescribed by Incoterms. ### The terms EXW, CIP, FCA, CFR and other similar terms, when used, shall be governed by the rules prescribed in the current edition of Incoterms specified in the SCC and published by the International Chamber of Commerce in Paris, France. - Entire Agreement The Contract constitutes the entire agreement between the Purchaser and the Supplier and supersedes all communications, negotiations and agreements (whether written or oral) of the parties with respect thereto made prior to the date of Contract. - Amendment No amendment or other variation of the Contract shall be valid unless it is in writing, is dated, expressly refers to the Contract, and is signed by a duly authorized representative of each party thereto. - Nonwaiver ### Subject to GCC Sub-Clause 4.5(b) below, no relaxation, forbearance, delay, or indulgence by either party in enforcing any of the terms and conditions of the Contract or the granting of time by either party to the other shall prejudice, affect, or restrict the rights of that party under the Contract, neither shall any waiver by either party of any breach of Contract operate as waiver of any subsequent or continuing breach of Contract. ### Any waiver of a party’s rights, powers, or remedies under the Contract must be in writing, dated, and signed by an authorized representative of the party granting such waiver, and must specify the right and the extent to which it is being waived. - Severability If any provision or condition of the Contract is prohibited or rendered invalid or unenforceable, such prohibition, invalidity or unenforceability shall not affect the validity or enforceability of any other provisions and conditions of the Contract. |
| 5.Language |  | - The Contract as well as all correspondence and documents relating to the Contract exchanged by the Supplier and the Purchaser, shall be written in the language specified in the SCC. Supporting documents and printed literature that are part of the Contract may be in another language provided they are accompanied by an accurate translation of the relevant passages in the language specified, in which case, for purposes of interpretation of the Contract, this translation shall govern. - The Supplier shall bear all costs of translation to the governing language and all risks of the accuracy of such translation, for documents provided by the Supplier. |
| 6.Joint Venture, Consortium or Association |  | - If the Supplier is a joint venture, consortium, or association, all of the parties shall be jointly and severally liable to the Purchaser for the fulfillment of the provisions of the Contract and shall designate one party to act as a leader with authority to bind the joint venture, consortium, or association. The composition or the constitution of the joint venture, consortium, or association shall not be altered without the prior consent of the Purchaser. |
| 7.Eligibility |  | - The Supplier and its Subcontractors shall have the nationality of an eligible country. A Supplier or Subcontractor shall be deemed to have the nationality of a country if it is a citizen or constituted, incorporated, or registered, and operates in conformity with the provisions of the laws of that country. - All Goods and Related Services to be supplied under the Contract and financed by the Bank shall have their origin in Eligible Countries. For the purpose of this Clause, origin means the country where the goods have been grown, mined, cultivated, produced, manufactured, or processed; or through manufacture, processing, or assembly, another commercially recognized article results that differs substantially in its basic characteristics from its components. |
| 8.Notices |  | - Any notice given by one party to the other pursuant to the Contract shall be in writing to the address specified in the SCC. The term “in writing” means communicated in written form with proof of receipt. - A notice shall be effective when delivered or on the notice’s effective date, whichever is later. |
|  | 9.Governing Law | - The Contract shall be governed by and interpreted in accordance with the laws of the Purchaser’s Country, unless otherwise specified in the SCC. |
|  | 10.Settlement of Disputes | - The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute arising between them under or in connection with the Contract. - If, after twenty-eight (28) days, the parties have failed to resolve their dispute or difference by such mutual consultation, then either the Purchaser or the Supplier may give notice to the other party of its intention to commence arbitration, as hereinafter provided, as to the matter in dispute, and no arbitration in respect of this matter may be commenced unless such notice is given. Any dispute or difference in respect of which a notice of intention to commence arbitration has been given in accordance with this Clause shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the Goods under the Contract. Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in the SCC. - Notwithstanding any reference to arbitration herein, - the parties shall continue to perform their respective obligations under the Contract unless they otherwise agree; and - The Purchaser shall pay the Supplier any monies due the Supplier. |
|  | 11.Inspections and Audit by the Bank | - The Supplier shall permit, and shall cause its Subcontractors and consultants to permit, the Bank and/or persons appointed by the Bank to inspect the Supplier’s offices and all accounts and records relating to the performance of the Contract and the submission of the bid, and to have such accounts and records audited by auditors appointed by the Bank if requested by the Bank. The Supplier’s and its Subcontractors and consultants’ attention is drawn to Clause 3 [Fraud and Corruption], which provides, inter alia, that acts intended to materially impede the exercise of the Bank’s inspection and audit rights provided for under this Sub-Clause 11.1 constitute a prohibited practice subject to contract termination (as well as to a determination of ineligibility pursuant to the Bank’s prevailing sanctions procedures). |
|  | 12.Scope of Supply | 12.1 The Goods and Related Services to be supplied shall be as specified in the Schedule of Requirements. |
|  | 13.Delivery and Documents | 13.1 Subject to GCC Sub-Clause 33.1, the Delivery of the Goods and Completion of the Related Services shall be in accordance with the Delivery and Completion Schedule specified in the Schedule of Requirements. The details of shipping and other documents to be furnished by the Supplier are specified in the SCC. |
|  | 14.Supplier’s Responsibilities | 14.1 The Supplier shall supply all the Goods and Related Services included in the Scope of Supply in accordance with GCC Clause 12, and the Delivery and Completion Schedule, as per GCC Clause 13. |
|  | 15.Contract Price | 15.1 Prices charged by the Supplier for the Goods supplied and the Related Services performed under the Contract shall not vary from the prices quoted by the Supplier in its bid, with the exception of any price adjustments authorized in the SCC. |
|  | 16.Terms of Payment | 16.1 The Contract Price, including any Advance Payments, if applicable, shall be paid as specified in the SCC. 16.2 The Supplier’s request for payment shall be made to the Purchaser in writing, accompanied by invoices describing, as appropriate, the Goods delivered and Related Services performed, and by the documents submitted pursuant to GCC Clause 13 and upon fulfillment of all other obligations stipulated in the Contract. 16.3 Payments shall be made promptly by the Purchaser, but in no case later than sixty (60) days after submission of an invoice or request for payment by the Supplier, and after the Purchaser has accepted it. 16.4 The currencies in which payments shall be made to the Supplier under this Contract shall be those in which the bid price is expressed. 16.5 In the event that the Purchaser fails to pay the Supplier any payment by its due date or within the period set forth in the SCC, the Purchaser shall pay to the Supplier interest on the amount of such delayed payment at the rate shown in the SCC, for the period of delay until payment has been made in full, whether before or after judgment or arbitrage award. |
|  | 17.Taxes and Duties | 17.1 For goods manufactured outside the Purchaser’s Country, the Supplier shall be entirely responsible for all taxes, stamp duties, license fees, and other such levies imposed outside the Purchaser’s Country. 17.2 For goods Manufactured within the Purchaser’s country, the Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser. 17.3 If any tax exemptions, reductions, allowances or privileges may be available to the Supplier in the Purchaser’s Country, the Purchaser shall use its best efforts to enable the Supplier to benefit from any such tax savings to the maximum allowable extent. |
|  | 18.Performance Security | 18.1 If required as specified in the SCC, the Supplier shall, within twenty-eight (28) days of the notification of contract award, provide a performance security for the performance of the Contract in the amount specified in the SCC. 18.2 The proceeds of the Performance Security shall be payable to the Purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract. 18.3 As specified in the SCC, the Performance Security, if required, shall be denominated in the currency(ies) of the Contract, or in a freely convertible currency acceptable to the Purchaser; and shall be in one of the format stipulated by the Purchaser in the SCC, or in another format acceptable to the Purchaser. 18.4 The Performance Security shall be discharged by the Purchaser and returned to the Supplier not later than twenty-eight (28) days following the date of Completion of the Supplier’s performance obligations under the Contract, including any warranty obligations, unless specified otherwise in the SCC. |
|  | 19.Copyright | 19.1 The copyright in all drawings, documents, and other materials containing data and information furnished to the Purchaser by the Supplier herein shall remain vested in the Supplier, or, if they are furnished to the Purchaser directly or through the Supplier by any third party, including suppliers of materials, the copyright in such materials shall remain vested in such third party |
|  | 20.Confidential Information | 20.1 The Purchaser and the Supplier shall keep confidential and shall not, without the written consent of the other party hereto, divulge to any third party any documents, data, or other information furnished directly or indirectly by the other party hereto in connection with the Contract, whether such information has been furnished prior to, during or following completion or termination of the Contract. Notwithstanding the above, the Supplier may furnish to its Subcontractor such documents, data, and other information it receives from the Purchaser to the extent required for the Subcontractor to perform its work under the Contract, in which event the Supplier shall obtain from such Subcontractor an undertaking of confidentiality similar to that imposed on the Supplier under GCC Clause 20. 20.2 The Purchaser shall not use such documents, data, and other information received from the Supplier for any purposes unrelated to the contract. Similarly, the Supplier shall not use such documents, data, and other information received from the Purchaser for any purpose other than the performance of the Contract. 20.3 The obligation of a party under GCC Sub-Clauses 20.1 and 20.2 above, however, shall not apply to information that: ### The Purchaser or Supplier need to share with the Bank or other institutions participating in the financing of the Contract; ### Now or hereafter enters the public domain through no fault of that party; ### Can be proven to have been possessed by that party at the time of disclosure and which was not previously obtained, directly or indirectly, from the other party; or ### Otherwise lawfully becomes available to that party from a third party that has no obligation of confidentiality. 20.4 The above provisions of GCC Clause 20 shall not in any way modify any undertaking of confidentiality given by either of the parties hereto prior to the date of the Contract in respect of the Supply or any part thereof. 20.5 The provisions of GCC Clause 20 shall survive completion or termination, for whatever reason, of the Contract. |
|  | 21.Subcontracting | 21.1 The Supplier shall notify the Purchaser in writing of all subcontracts awarded under the Contract if not already specified in the bid. Such notification, in the original bid or later shall not relieve the Supplier from any of its obligations, duties, responsibilities, or liability under the Contract. 21.2 Subcontracts shall comply with the provisions of GCC Clauses 3 and 7. |
|  | 22.Specifications and Standards | 22.1 Technical Specifications and Drawings ### The Goods and Related Services supplied under this Contract shall conform to the technical specifications and standards mentioned in Section VI, Schedule of Requirements and, when no applicable standard is mentioned, the standard shall be equivalent or superior to the official standards whose application is appropriate to the Goods’ country of origin. ### The Supplier shall be entitled to disclaim responsibility for any design, data, drawing, specification or other document, or any modification thereof provided or designed by or on behalf of the Purchaser, by giving a notice of such disclaimer to the Purchaser. ### Wherever references are made in the Contract to codes and standards in accordance with which it shall be executed, the edition or the revised version of such codes and standards shall be those specified in the Schedule of Requirements. During Contract execution, any changes in any such codes and standards shall be applied only after approval by the Purchaser and shall be treated in accordance with GCC Clause 33. |
|  | 23.Packing and Documents | 23.1 The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination, as indicated in the Contract. During transit, the packing shall be sufficient to withstand, without limitation, rough handling and exposure to extreme temperatures, salt and precipitation, and open storage. Packing case size and weights shall take into consideration, where appropriate, the remoteness of the goods’ final destination and the absence of heavy handling facilities at all points in transit. 23.2 The packing, marking, and documentation within and outside the packages shall comply strictly with such special requirements as shall be expressly provided for in the Contract, including additional requirements, if any, specified in the SCC, and in any other instructions ordered by the Purchaser. |
|  | 24.Insurance | 24.1 Unless otherwise specified in the SCC, the Goods supplied under the Contract shall be fully insured—in a freely convertible currency from an eligible country—against loss or damage incidental to manufacture or acquisition, transportation, storage, and delivery, in accordance with the applicable Incoterms or in the manner specified in the SCC. |
|  | 25.Transportation | 25.1 Unless otherwise specified in the SCC, responsibility for arranging transportation of the Goods shall be in accordance with the specified Incoterms. |
|  | 26.Inspections and Tests | 26.1 The Supplier shall at its own expense and at no cost to the Purchaser carry out all such tests and/or inspections of the Goods and Related Services as are specified in the SCC. 26.2 The inspections and tests may be conducted on the premises of the Supplier or its Subcontractor, at point of delivery, and/or at the Goods’ final destination, or in another place in the Purchaser’s Country as specified in the SCC. Subject to GCC Sub-Clause 26.3, if conducted on the premises of the Supplier or its Subcontractor, all reasonable facilities and assistance, including access to drawings and production data, shall be furnished to the inspectors at no charge to the Purchaser. 26.3 The Purchaser or its designated representative shall be entitled to attend the tests and/or inspections referred to in GCC Sub-Clause 26.2, provided that the Purchaser bear all of its own costs and expenses incurred in connection with such attendance including, but not limited to, all traveling and board and lodging expenses. 26.4 Whenever the Supplier is ready to carry out any such test and inspection, it shall give a reasonable advance notice, including the place and time, to the Purchaser. The Supplier shall obtain from any relevant third party or manufacturer any necessary permission or consent to enable the Purchaser or its designated representative to attend the test and/or inspection. 26.5 The Purchaser may require the Supplier to carry out any test and/or inspection not required by the Contract but deemed necessary to verify that the characteristics and performance of the Goods comply with the technical specifications codes and standards under the Contract, provided that the Supplier’s reasonable costs and expenses incurred in the carrying out of such test and/or inspection shall be added to the Contract Price. Further, if such test and/or inspection impedes the progress of manufacturing and/or the Supplier’s performance of its other obligations under the Contract, due allowance will be made in respect of the Delivery Dates and Completion Dates and the other obligations so affected. 26.6 The Supplier shall provide the Purchaser with a report of the results of any such test and/or inspection. 26.7 The Purchaser may reject any Goods or any part thereof that fail to pass any test and/or inspection or do not conform to the specifications. The Supplier shall either rectify or replace such rejected Goods or parts thereof or make alterations necessary to meet the specifications at no cost to the Purchaser, and shall repeat the test and/or inspection, at no cost to the Purchaser, upon giving a notice pursuant to GCC Sub-Clause 26.4. 26.8 The Supplier agrees that neither the execution of a test and/or inspection of the Goods or any part thereof, nor the attendance by the Purchaser or its representative, nor the issue of any report pursuant to GCC Sub-Clause 26.6, shall release the Supplier from any warranties or other obligations under the Contract. |
|  | 27.Liquidated Damages | 27.1 Except as provided under GCC Clause 32, if the Supplier fails to deliver any or all of the Goods by the Date(s) of delivery or perform the Related Services within the period specified in the Contract, the Purchaser may without prejudice to all its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in the SCC of the delivered price of the delayed Goods or unperformed Services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of the percentage specified in those SCC. Once the maximum is reached, the Purchaser may terminate the Contract pursuant to GCC Clause 35. |
|  | 28.Warranty | 28.1 The Supplier warrants that all the Goods are new, unused, and of the most recent or current models, and that they incorporate all recent improvements in design and materials, unless provided otherwise in the Contract. 28.2 Subject to GCC Sub-Clause 22.1(b), the Supplier further warrants that the Goods shall be free from defects arising from any act or omission of the Supplier or arising from design, materials, and workmanship, under normal use in the conditions prevailing in the country of final destination. 28.3 Unless otherwise specified in the SCC, the warranty shall remain valid for twelve (12) months after the Goods, or any portion thereof as the case may be, have been delivered to and accepted at the final destination indicated in the SCC, or for eighteen (18) months after the date of shipment from the port or place of loading in the country of origin, whichever period concludes earlier. 28.4 The Purchaser shall give notice to the Supplier stating the nature of any such defects together with all available evidence thereof, promptly following the discovery thereof. The Purchaser shall afford all reasonable opportunity for the Supplier to inspect such defects. 28.5 Upon receipt of such notice, the Supplier shall, within the period specified in the SCC, expeditiously repair or replace the defective Goods or parts thereof, at no cost to the Purchaser. 28.6 If having been notified, the Supplier fails to remedy the defect within the period specified in the SCC, the Purchaser may proceed to take within a reasonable period such remedial action as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract. |
|  | 29.Patent Indemnity | 29.1 The Supplier shall, subject to the Purchaser’s compliance with GCC Sub-Clause 29.2, indemnify and hold harmless the Purchaser and its employees and officers from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Purchaser may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract by reason of: ### The installation of the Goods by the Supplier or the use of the Goods in the country where the Site is located; and ### The sale in any country of the products produced by the Goods. ### Such indemnity shall not cover any use of the Goods or any part thereof other than for the purpose indicated by or to be reasonably inferred from the Contract, neither any infringement resulting from the use of the Goods or any part thereof, or any products produced thereby in association or combination with any other equipment, plant, or materials not supplied by the Supplier, pursuant to the Contract. 29.2 If any proceedings are brought or any claim is made against the Purchaser arising out of the matters referred to in GCC Sub-Clause 29.1, the Purchaser shall promptly give the Supplier a notice thereof, and the Supplier may at its own expense and in the Purchaser’s name conduct such proceedings or claim and any negotiations for the settlement of any such proceedings or claim. 29.3 If the Supplier fails to notify the Purchaser within twenty-eight (28) days after receipt of such notice that it intends to conduct any such proceedings or claim, then the Purchaser shall be free to conduct the same on its own behalf. 29.4 The Purchaser shall, at the Supplier’s request, afford all available assistance to the Supplier in conducting such proceedings or claim, and shall be reimbursed by the Supplier for all reasonable expenses incurred in so doing. 29.5 The Purchaser shall indemnify and hold harmless the Supplier and its employees, officers, and Subcontractors from and against any and all suits, actions or administrative proceedings, claims, demands, losses, damages, costs, and expenses of any nature, including attorney’s fees and expenses, which the Supplier may suffer as a result of any infringement or alleged infringement of any patent, utility model, registered design, trademark, copyright, or other intellectual property right registered or otherwise existing at the date of the Contract arising out of or in connection with any design, data, drawing, specification, or other documents or materials provided or designed by or on behalf of the Purchaser. |
|  | 30.Limitation of Liability | 30.1 Except in cases of criminal negligence or willful misconduct, (a) the Supplier shall not be liable to the Purchaser, whether in contract, tort, or otherwise, for any indirect or consequential loss or damage, loss of use, loss of production, or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the Supplier to pay liquidated damages to the Purchaser and (b) the aggregate liability of the Supplier to the Purchaser, whether under the Contract, in tort or otherwise, shall not exceed the total Contract Price, provided that this limitation shall not apply to the cost of repairing or replacing defective equipment, or to any obligation of the supplier to indemnify the purchaser with respect to patent infringement |
|  | 31.Change in Laws and Regulations | 31.1 Unless otherwise specified in the Contract, if after the date of 28 days prior to date of Bid submission, any law, regulation, ordinance, order or bylaw having the force of law is enacted, promulgated, abrogated, or changed in the place of the Purchaser’s country where the Site is located (which shall be deemed to include any change in interpretation or application by the competent authorities) that subsequently affects the Delivery Date and/or the Contract Price, then such Delivery Date and/or Contract Price shall be correspondingly increased or decreased, to the extent that the Supplier has thereby been affected in the performance of any of its obligations under the Contract. Notwithstanding the foregoing, such additional or reduced cost shall not be separately paid or credited if the same has already been accounted for in the price adjustment provisions where applicable, in accordance with GCC Clause 15. |
|  | 32.Force Majeure | 32.1 The Supplier shall not be liable for forfeiture of its Performance Security, liquidated damages, or termination for default if and to the extent that it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure. 32.2 For purposes of this Clause, “Force Majeure” means an event or situation beyond the control of the Supplier that is not foreseeable, is unavoidable, and its origin is not due to negligence or lack of care on the part of the Supplier. Such events may include, but not be limited to, acts of the Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes. 32.3 If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical, and shall seek all reasonable alternative means for performance not prevented by the Force Majeure event. |
|  | 33.Change Orders and Contract Amendments | 33.1 The Purchaser may at any time order the Supplier through notice in accordance GCC Clause 8, to make changes within the general scope of the Contract in any one or more of the following: ### drawings, designs, or specifications, where Goods to be furnished under the Contract are to be specifically manufactured for the Purchaser; ### the method of shipment or packing; ### the place of delivery; and ### the Related Services to be provided by the Supplier. 33.2 If any such change causes an increase or decrease in the cost of, or the time required for, the Supplier’s performance of any provisions under the Contract, an equitable adjustment shall be made in the Contract Price or in the Delivery/Completion Schedule, or both, and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this Clause must be asserted within twenty-eight (28) days from the date of the Supplier’s receipt of the Purchaser’s change order. 33.3 Prices to be charged by the Supplier for any Related Services that might be needed but which were not included in the Contract shall be agreed upon in advance by the parties and shall not exceed the prevailing rates charged to other parties by the Supplier for similar services. 33.4 Subject to the above, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by the parties. |
|  | 34.Extensions of Time | 34.1 If at any time during performance of the Contract, the Supplier or its subcontractors should encounter conditions impeding timely delivery of the Goods or completion of Related Services pursuant to GCC Clause 13, the Supplier shall promptly notify the Purchaser in writing of the delay, its likely duration, and its cause. As soon as practicable after receipt of the Supplier’s notice, the Purchaser shall evaluate the situation and may at its discretion extend the Supplier’s time for performance, in which case the extension shall be ratified by the parties by amendment of the Contract. 34.2 Except in case of Force Majeure, as provided under GCC Clause 32, a delay by the Supplier in the performance of its Delivery and Completion obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 26, unless an extension of time is agreed upon, pursuant to GCC Sub-Clause 34.1. |
|  | 35.Termination | 35.1 Termination for Default ### The Purchaser, without prejudice to any other remedy for breach of Contract, by written notice of default sent to the Supplier, may terminate the Contract in whole or in part: #### if the Supplier fails to deliver any or all of the Goods within the period specified in the Contract, or within any extension thereof granted by the Purchaser pursuant to GCC Clause 34; #### if the Supplier fails to perform any other obligation under the Contract; or #### if the Supplier, in the judgment of the Purchaser has engaged in fraud and corruption, as defined in GCC Clause 3, in competing for or in executing the Contract. ### In the event the Purchaser terminates the Contract in whole or in part, pursuant to GCC Clause 35.1(a), the Purchaser may procure, upon such terms and in such manner as it deems appropriate, Goods or Related Services similar to those undelivered or not performed, and the Supplier shall be liable to the Purchaser for any additional costs for such similar Goods or Related Services. However, the Supplier shall continue performance of the Contract to the extent not terminated. 35.2 Termination for Insolvency. ### The Purchaser may at any time terminate the Contract by giving notice to the Supplier if the Supplier becomes bankrupt or otherwise insolvent. In such event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy that has accrued or will accrue thereafter to the Purchaser 35.3 Termination for Convenience. ### The Purchaser, by notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Purchaser’s convenience, the extent to which performance of the Supplier under the Contract is terminated, and the date upon which such termination becomes effective. ### The Goods that are complete and ready for shipment within twenty-eight (28) days after the Supplier’s receipt of notice of termination shall be accepted by the Purchaser at the Contract terms and prices. For the remaining Goods, the Purchaser may elect: #### to have any portion completed and delivered at the Contract terms and prices; and/or #### to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and Related Services and for materials and parts previously procured by the Supplier. |
|  | 36.Assignment | 36.1 Neither the Purchaser nor the Supplier shall assign, in whole or in part, their obligations under this Contract, except with prior written consent of the other party. |
|  | 37.Export Restriction | 37.1 Notwithstanding any obligation under the Contract to complete all export formalities, any export restrictions attributable to the Purchaser, to the country of the Purchaser, or to the use of the products/goods, systems or services to be supplied, which arise from trade regulations from a country supplying those products/goods, systems or services, and which substantially impede the Supplier from meeting its obligations under the Contract, shall release the Supplier from the obligation to provide deliveries or services, always provided, however, that the Supplier can demonstrate to the satisfaction of the Purchaser and of the Bank that it has completed all formalities in a timely manner, including applying for permits, authorizations and licenses necessary for the export of the products/goods, systems or services under the terms of the Contract. Termination of the Contract on this basis shall be for the Purchaser’s convenience pursuant to Sub-Clause 35.3. |

| Section VIII. Special Conditions of Contract |  |
| --- | --- |
| The following Special Conditions of Contract (SCC) shall supplement and / or amend the General Conditions of Contract (GCC). Whenever there is a conflict, the provisions herein shall prevail over those in the GCC. |  |
| GCC 1.1(j) | The Purchaser’s country is: Palestine |
| GCC 1.1(k) | The Purchaser is: Palestinian Energy Authority (PEA) |
| GCC 1.1 (q) | The Project Site Final Destination is: Vocational and Operational center for Photovoltaic Applications For the benefit of TDECO. |
| GCC 4.2 (a) | The meaning of the trade terms shall be as prescribed by Incoterms. |
| GCC 4.2 (b) | The version edition of Incoterms shall be 2000 |
| GCC 5.1 | The language shall be: English |
| GCC 8.1 | For notices, the Purchaser’s address shall be: Attention: Procurement Officer Street Address: AlIrsal Street Building: Zahret Al-Masayef Building 3rd floor City: Al-Bireh Country: West Bank and Gaza Telephone: + 972 2 2984752 Facsimile number: + 972 2 2984753 Electronic mail address: procurement@menr.org,,, perc@palnet.com |
| GCC 9.1 | The governing law shall be the law of: Palestinian Law |
| GCC 10.2 | The rules of procedure for arbitration proceedings pursuant to GCC Clause 10.2 shall be as follows: [The bidding documents should contain one clause to be retained in the event of a Contract with a foreign Supplier and one clause to be retained in the event of a Contract with a Supplier who is a national of the Purchaser’s country. At the time of finalizing the Contract, the respective applicable clause should be retained in the Contract. The following explanatory note should therefore be inserted as a header to GCC 10.2 in the bidding document. “Clause 10.2 (a) shall be retained in the case of a Contract with a foreign Supplier and clause 10.2 (b) shall be retained in the case of a Contract with a national of the Purchaser’s country.”] (a) Contract with foreign Supplier: [For contracts entered into with foreign suppliers, International commercial arbitration may have practical advantages over other dispute settlement methods. The World Bank should not be named as arbitrator, nor should it be asked to name an arbitrator. Among the rules to govern the arbitration proceedings, the Purchaser may wish to consider the United Nations Commission on International Trade Law (UNCITRAL) Arbitration Rules of 1976, the Rules of Conciliation and Arbitration of the International Chamber of Commerce (ICC), the Rules of the London Court of International Arbitration or the Rules of Arbitration Institute of the Stockholm Chamber of Commerce.] If the Purchaser chooses the UNCITRAL Arbitration Rules, the following sample clause should be inserted: GCC 10.2 (a)—Any dispute, controversy or claim arising out of or relating to this Contract, or breach, termination or invalidity thereof, shall be settled by arbitration in accordance with the UNCITRAL Arbitration Rules as at present in force. If the Purchaser chooses the Rules of ICC, the following sample clause should be inserted: GCC 10.2 (a)—All disputes arising in connection with the present Contract shall be finally settled under the Rules of Conciliation and Arbitration of the International Chamber of Commerce by one or more arbitrators appointed in accordance with said Rules. If the Purchaser chooses the Rules of Arbitration Institute of Stockholm Chamber of Commerce, the following sample clause should be inserted: GCC 10.2 (a)—Any dispute, controversy or claim arising out of or in connection with this Contract, or the breach termination or invalidity thereof, shall be settled by arbitration in accordance with the Rules of the Arbitration Institute of the Stockholm Chamber of Commerce. If the Purchaser chooses the Rules of the London Court of International Arbitration, the following clause should be inserted: GCC 10.2 (a)—Any dispute arising out of or in connection with this Contract, including any question regarding its existence, validity or termination shall be referred to and finally resolved by arbitration under the Rules of the London Court of International Arbitration, which rules are deemed to be incorporated by reference to this clause. (b) Contracts with Supplier national of the Purchaser’s country: In the case of a dispute between the Purchaser and a Supplier who is a national of the Purchaser’s country, the dispute shall be referred to adjudication or arbitration in accordance with the laws of the Purchaser’s country. |
| GCC 13.1 | Details of Shipping and other Documents to be furnished by the Supplier are : (i) copies of the Supplier’s invoice showing Goods’ description, quantity, unit price, and total amount; (ii) original and one copy of the negotiable, clean, on-board bill of lading marked “freight prepaid” and three copies of nonnegotiable bill of lading; (iii) copies of the packing list identifying contents of each package; (iv) insurance certificate; (v) Manufacturer’s or Supplier’s warranty certificate; (vi) inspection certificate, issued by the nominated inspection agency, and the Supplier’s factory inspection report; and (vii) certificate of origin. The above documents shall be received by the Purchaser before arrival of the Goods and, if not received, the Supplier will be responsible for any consequent expenses. For Goods from within the Purchaser’s country: Upon delivery of the Goods to the transporter, the Supplier shall notify the Purchaser and mail the following documents to the Purchaser: (i) copies of the Supplier’s invoice showing Goods’ description, quantity, unit price, and total amount; (ii) delivery note, railway receipt, or truck receipt; (iii) Manufacturer’s or Supplier’s warranty certificate; (iv) inspection certificate issued by the nominated inspection agency, and the Supplier’s factory inspection report; and (v) certificate of origin. The above documents shall be received by the Purchaser before arrival of the Goods and, if not received, the Supplier will be responsible for any consequent expenses. |
| GCC 15.1 | The prices charged for the Goods supplied and the related Services performed shall not be adjustable. |
| GCC 16.1 | Sample provision GCC 16.1—The method and conditions of payment to be made to the Supplier under this Contract shall be as follows: Payment for Goods supplied from abroad: Payment of foreign currency portion shall be made in (U.S.Dolars) in the following manner: (i) Advance Payment: twenty (20) percent of the Contract Price shall be paid within fifteen (15) days of signing of the Contract, and upon submission of claim and a bank guarantee for equivalent amount valid until the Goods are delivered and in the form provided in the bidding documents or another form acceptable to the Purchaser. (ii) On Shipment: fifty (50) percent of the Contract Price of the Goods shipped shall be paid through irrevocable , within 30 (thirty) days of the later of: - acceptance by the Purchaser of the Goods based on the inspection of the duly authorized representative(s) of the Czech Republic; - Receipt of customary shipping documents and any other documents specified in the Contract. - Receipt of the original invoice issued by the Contractor. The duly authorized representative(s) of the Czech Republic shall have the right, before payment, to inspect the Goods either at the Contractor’s stores, during manufacture, or, at the ports and/or in places of shipment. The Contractor shall provide all facilities for such inspection. Any inspection carried out by representative(s) of the Czech Republic shall be without prejudice to other provisions of the Contract concerning obligations assumed by the Contractor (iii) On Assembly and Training: Twenty (20) percent of the Contract Price within thirty (30) days of the later of: - receipt of the report on training; - receipt of the revision acceptance report; - receipt of the original invoice issued by the Contractor (iv)On Acceptance: Ten (10) percent of the Contract Price of Goods received shall be paid within thirty (30) days of : - Receipt of Goods upon submission of claim supported by the acceptance certificate issued by the Purchaser. - Receipt of the final acceptance report. - Receipt of the original invoice issued by the Contractor. The duly authorized representative(s) of the Czech Republic shall have the right, before payment, to inspect the Goods at the Purchaser’s premises upon delivery. The Contractor shall provide all facilities for such inspection. Any inspection carried out by representative(s) of the Czech Republic shall be without prejudice to other provisions of the Contract concerning obligations assumed by the Contractor. Upon delivery and inspection of the Goods, the Purchaser shall issue a written protocol, stating acceptance of the Goods. Should any Goods fail to conform to the technical specifications, codes and standards under the Contract, the Purchaser may reject the Goods. The Contractor shall, at no cost to the Purchaser, replace the rejected Goods or, alternatively, rectify the non-conformity. The inspection of the Goods by the representatives of the Czech Republic shall not be deemed acceptance of the Goods by the Purchaser. Payment of local currency portion shall be made in USD within thirty (30) days of presentation of claim supported by a certificate from the Purchaser declaring that the Goods have been delivered and that all other contracted Services have been performed. Payment for Goods and Services supplied from within the Purchaser’s country: Payment for Goods and Services supplied from within the Purchaser’s country shall be made in USD , as follows: (i) Advance Payment: twenty (20) percent of the Contract Price shall be paid within fifteen (15) days of signing of the Contract, and upon submission of claim and a bank guarantee for equivalent amount valid until the Goods are delivered and in the form provided in the bidding documents or another form acceptable to the Purchaser. (ii) On Shipment: fifty (50) percent of the Contract Price of the Goods shipped shall be paid through irrevocable , within 30 (thirty) days of the later of: - acceptance by the Purchaser of the Goods based on the inspection of the duly authorized representative(s) of the Czech Republic; - Receipt of customary shipping documents and any other documents specified in the Contract. - Receipt of the original invoice issued by the Contractor. The duly authorized representative(s) of the Czech Republic shall have the right, before payment, to inspect the Goods either at the Contractor’s stores, during manufacture, or, at the ports and/or in places of shipment. The Contractor shall provide all facilities for such inspection. Any inspection carried out by representative(s) of the Czech Republic shall be without prejudice to other provisions of the Contract concerning obligations assumed by the Contractor (iii) On Assembly and Training: Twenty (20) percent of the Contract Price within thirty (30) days of the later of: - receipt of the report on training; - receipt of the revision acceptance report; - receipt of the original invoice issued by the Contractor (iv)On Acceptance: Ten (10) percent of the Contract Price of Goods received shall be paid within thirty (30) days of : - Receipt of Goods upon submission of claim supported by the acceptance certificate issued by the Purchaser. - Receipt of the final acceptance report. - Receipt of the original invoice issued by the Contractor. The duly authorized representative(s) of the Czech Republic shall have the right, before payment, to inspect the Goods at the Purchaser’s premises upon delivery. The Contractor shall provide all facilities for such inspection. Any inspection carried out by representative(s) of the Czech Republic shall be without prejudice to other provisions of the Contract concerning obligations assumed by the Contractor. Upon delivery and inspection of the Goods, the Purchaser shall issue a written protocol, stating acceptance of the Goods. Should any Goods fail to conform to the technical specifications, codes and standards under the Contract, the Purchaser may reject the Goods. The Contractor shall, at no cost to the Purchaser, replace the rejected Goods or, alternatively, rectify the non-conformity. The inspection of the Goods by the representatives of the Czech Republic shall not be deemed acceptance of the Goods by the Purchaser. |
| GCC 16.5 | The payment-delay period after which the Purchaser shall pay interest to the supplier shall be 90 days. The interest rate that shall be applied is Libor |
| GCC 18.1 | A Performance Security “shall” be required the Performance Security shall be: 10% After delivery and acceptance of the Goods, the performance security shall be reduced to two (2) percent of the Contract Price to cover the Supplier’s warranty obligations in accordance with Clause GCC 28.3 |
| GCC 18.3 | If required, the Performance Security shall be in the form of : “a Bank Guarantee” If required, the Performance security shall be denominated in “ the currencies of payment of the Contract, in accordance with their portions of the Contract Price” |
| GCC 18.4 | Discharge of the Performance Security shall take place not later than twenty-eight (28) days following the date of Completion of the Supplier’s performance obligations under the Contract, including warranty obligations |
| GCC 23.2 | The packing, marking and documentation within and outside the packages shall be: as specified by technical specifications… |
| GCC 24.1 | The insurance coverage shall be as specified in the Incoterms. The Insurance shall be in an amount equal to 110 percent of the CIP value of the Goods from “warehouse” to “warehouse” on “All Risks” basis, including War Risks and Strikes. |
| GCC 25.1 | Responsibility for transportation of the Goods shall be as specified in the Incoterms. |
| GCC 26.1 | The inspections and tests shall be: Checking compliance to technical specifications by the Purchaser, upon delivery of the Goods |
| GCC 26.2 | The Inspections and tests shall be conducted at: Site |
| GCC 27.1 | The liquidated damage shall be: one half (0.5)percent per week |
| GCC 27.1 | The maximum amount of liquidated damages shall be: Ten (10) percent of the Contract Price |
| GCC 28.3 | The period of validity of the Warranty shall be: 12 months For purposes of the Warranty, the place(s) of final destination(s) shall be: Tubas Governorate |
| GCC 28.5 | The period for repair or replacement shall be: 60 days. |

Section IX. Contract Forms

Table of Forms

1. Contract Agreement	104

2. Performance Security	106

3. Bank Guarantee for Advance Payment	107

1. Contract Agreement

[The successful Bidder shall fill in this form in accordance with the instructions indicated]

THIS CONTRACT AGREEMENT is made

the [ insert:  number ] day of  [ insert:  month ], [ insert:  year ].

BETWEEN

(1)	[ insert complete name of Purchaser ], a [ insert description of type of legal entity, for example, an agency of the Ministry of .... of the Government of { insert name of  Country of Purchaser }, or corporation incorporated under the laws of { insert name of  Country of Purchaser } ] and having its principal place of business at [ insert address of Purchaser ] (hereinafter called “the Purchaser”), and

(2)	[ insert name of Supplier ], a corporation incorporated under the laws of [ insert:  country of Supplier ] and having its principal place of business at [ insert:  address of Supplier ] (hereinafter called “the Supplier”).

WHEREAS the Purchaser invited bids for certain Goods and ancillary services, viz., [insert brief description of Goods and Services] and has accepted a Bid by the Supplier for the supply of those Goods and Services in the sum of [insert Contract Price in words and figures, expressed in the Contract currency(ies) ] (hereinafter called “the Contract Price”).

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

1.	In this Agreement words and expressions shall have the same meanings as are respectively assigned to them in the Conditions of Contract referred to.

2.	The following documents shall constitute the Contract between the Purchaser and the Supplier, and each shall be read and construed as an integral part of the Contract:

- This Contract Agreement

- Special Conditions of Contract

- General Conditions of Contract

- Technical Requirements (including Schedule of Requirements and Technical Specifications)

- The Supplier’s Bid and original Price Schedules

- The Purchaser’s Notification of Award

- [Add here any other document(s)]

3. 	This Contract shall prevail over all other Contract documents. In the event of any discrepancy or inconsistency within the Contract documents, then the documents shall prevail in the order listed above.

4.	In consideration of the payments to be made by the Purchaser to the Supplier as hereinafter mentioned, the Supplier hereby covenants with the Purchaser to provide the Goods and Services and to remedy defects therein in conformity in all respects with the provisions of the Contract.

5.	The Purchaser hereby covenants to pay the Supplier in consideration of the provision of the Goods and Services and the remedying of defects therein, the Contract Price or such other sum as may become payable under the provisions of the Contract at the times and in the manner prescribed by the Contract.

IN WITNESS whereof the parties hereto have caused this Agreement to be executed in accordance with the laws of [insert the name of the Contract governing law country] on the day, month and year indicated above.

For and on behalf of the Purchaser

Signed:	[insert signature]

in the capacity of [ insert  title or other appropriate designation ]

in the presence of [insert identification of official witness]

For and on behalf of the Supplier

Signed:	[insert signature of authorized representative(s) of the Supplier]

in the capacity of [ insert  title or other appropriate designation ]

in the presence of [ insert identification of official witness]

2. Performance Security

[The bank, as requested by the successful Bidder, shall fill in this form in accordance with the instructions indicated]

Date: [insert date (as day, month, and year) of Bid Submission]

ICB No. and title: [insert no. and title of bidding process]

Bank’s Branch or Office: [insert complete name of Guarantor]

Beneficiary: [insert complete name of Purchaser]

PERFORMANCE GUARANTEE No.:	[insert Performance Guarantee number]

We have been informed that [insert complete name of Supplier] (hereinafter called "the Supplier") has entered into Contract No. [insert number] dated [insert day and month], [insert year] with you, for the supply of [description of Goods and related Services] (hereinafter called "the Contract").

Furthermore, we understand that, according to the conditions of the Contract, a Performance Guarantee is required.

At the request of the Supplier, we hereby irrevocably undertake to pay you any sum(s) not exceeding [insert amount(s) in figures and words] upon receipt by us of your first demand in writing declaring the Supplier to be in default under the Contract, without cavil or argument, or your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This Guarantee shall expire no later than the [insert number] day of [insert month] [insert year], and any demand for payment under it must be received by us at this office on or before that date.

This guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458, except that subparagraph (ii) of Sub-article 20(a) is hereby excluded.

[signatures of authorized representatives of the bank and the Supplier]

3. Bank Guarantee for Advance Payment

[The bank, as requested by the successful Bidder, shall fill in this form in accordance with the instructions indicated.]

Date: [insert date (as day, month, and year) of Bid Submission]

ICB No. and title: [insert number and title of bidding process]

[bank’s letterhead]

Beneficiary:	[insert legal name and address of Purchaser]

ADVANCE PAYMENT GUARANTEE No.: [insert Advance Payment Guarantee no.]

We, [insert legal name and address of bank], have been informed that [insert complete name and address of Supplier] (hereinafter called "the Supplier") has entered into Contract No. [insert number] dated [insert date of Agreement] with you, for the supply of [insert types of Goods to be delivered] (hereinafter called "the Contract").

Furthermore, we understand that, according to the conditions of the Contract, an advance is to be made against an advance payment guarantee.

At the request of the Supplier, we hereby irrevocably undertake to pay you any sum or sums not exceeding in total an amount of [insert amount(s) in figures and words] upon receipt by us of your first demand in writing declaring that the Supplier is in breach of its obligation under the Contract because the Supplier used the advance payment for purposes other than toward delivery of the Goods.

It is a condition for any claim and payment under this Guarantee to be made that the advance payment referred to above must have been received by the Supplier on its account [insert number and domicile of the account]

This Guarantee shall remain valid and in full effect from the date of the advance payment received by the Supplier under the Contract until [insert date].

This Guarantee is subject to the Uniform Rules for Demand Guarantees, ICC Publication No. 458.

_____________________ 
[signature(s) of authorized representative(s) of the bank]

The amount of the Bond shall be denominated in the currency of the Purchaser’s country or the equivalent amount in a freely convertible currency.

The Bank shall insert the amount(s) specified in the SCC and denominated, as specified in the SCC, either in the currency(ies) of the Contract or a freely convertible currency acceptable to the Purchaser.

Dates established in accordance with Clause 18.4 of the General Conditions of Contract (“GCC”), taking into account any warranty obligations of the Supplier under Clause 16.2 of the GCC intended to be secured by a partial Performance Guarantee. The Purchaser should note that in the event of an extension of the time to perform the Contract, the Purchaser would need to request an extension of this Guarantee from the Bank.  Such request must be in writing and must be made prior to the expiration date established in the Guarantee. In preparing this Guarantee, the Purchaser might consider adding the following text to the Form, at the end of the penultimate paragraph:  “We agree to a one-time extension of this Guarantee for a period not to exceed [six months] [one year], in response to the Purchaser’s written request for such extension, such request to be presented to us before the expiry of the Guarantee.”

The bank shall insert the amount(s) specified in the SCC and denominated, as specified in the SCC, either in the currency(ies) of the Contract or a freely convertible currency acceptable to the Purchaser.

Insert the Delivery date stipulated in the Contract Delivery Schedule. The Purchaser should note that in the event of an extension of the time to perform the Contract, the Purchaser would need to request an extension of this Guarantee from the bank.  Such request must be in writing and must be made prior to the expiration date established in the Guarantee. In preparing this Guarantee, the Purchaser might consider adding the following text to the Form, at the end of the penultimate paragraph:  “We agree to a one-time extension of this Guarantee for a period not to exceed [six months][one year], in response to the Purchaser’s written request for such extension, such request to be presented to us before the expiry of the Guarantee.”